[image: image1.png]o I O
Centre of excellence for integrated approaches
in chemistry and biology of proteins



 

[image: image2.jpg]A%

I- Investing in your future

OPERATION PART FINANCED BY THE EUROPEAN UNION
European Regional Development Fund





CO CIPKeBiP
Centre of excellence for integrated approaches
         in chemistry and biology of proteins

Jamova cesta 39, 1000 Ljubljana

VAT number: SI90147502
Tel. 01 477 3857, Fax. 01 477 3984

www.cipkebip.org 
Code of contract by open procedure: 06-2011
Date: 3 February 2011
Invitation to submit a tender
for the contract by open procedure for the purchase of 

a Pilot scale bioreactor
Based on the Public Procurement Act, ZJN-2B (Official gazette of the Republic of Slovenia, no. 19/2010 dated 12/03/2010), in accordance with the 25th Article of ZJN-2B and a Decision to initiate the contract by open procedure of 03/01/2011, we invite you to submit a tender for the contract by the open procedure for the purchase of a pilot scale bioreactor.

The estimated value of the contract by the open procedure is 167.000,00 EUR without value added tax.
The tender documentation is available on the internet: http://www.cipkebip.org/ .
The contracting authority may, in accordance with the 80th Article ZJN-2B, suspend the public procurement process at any time.

1. Object of the contract
The object of the contract by the open procedure is a purchase of a Pilot scale bioreactor. 
2. Complete tender
A complete tender should include:
a)
A completed and signed bidder information Form A
b)
A completed and signed pro-forma invoice Form B
c)
A completed and signed declaration of eligibility Form C
d)
Statement of compliance with the technical requirements Form D
e)
Statement of the servicing response time Form E
f)
Submitted evidence of collaborations within the past five years with different subscribers Appendix No. 1
g)
Completed and signed draft sales agreement Appendix No. 2
Tender documents should be put together in the above order and tied together on the way that individual sheets or attachments cannot be added, taken away or replicated at a later stage. Please attach also a photocopy of the entire tender (sheets should not be tied together). The submitted forms should be signed and stamped.
Other conditions: 
a)
Pro-forma invoice should be valid for the duration of the contractual relationship. 
b)
All prices should be expressed in Euros. The final price should include all its constituent elements. Any discounts and the VAT should be shown separately. 
c)
The pro-forma invoice should valid at least 9 months. 
d)
The time of performance delivery shouldn’t be more than 8 months from the date of signing the contract.

3. Technical requirements
Pilot scale bioreactor will be used for cultivation of different microorganisms under controlled bioprocess conditions. 
a) General requirements:

· Compact laboratory bioreactor for microbial cultivation.
· Delivery of complete bioreactor system, ready to use, with all probes, pumps, vessel with drive, measurement and control instruments as well as connection to external systems.
· Possibility of bioprocess automation and software for »remote control«.
· Essential material and manufacture certificate documentation for further GMP qualification.
· Warranty for period of at least one year after delivery and successful installation.
b) Requirements of basic unit:

· Open frame supply unit with a complete pipe work system, culture vessel, control unit and other accessory systems.
· Temperature control system, which will be connected to steam, for regulation of fermentation temperatures between 8 °C above cooling water temperature and 90°C and sterilization temperature 130°C. 

· System for automatic in-situ sterilization of culture vessel as well as air inlet and exhaust filter sterilization.

· Additional equipment for the supply unit:

· 3 × autoclavable 5000 ml storage bottle,
· Recirculation water cooler with adequate cooling capacity with temperature range -10°C to +40°C with installation material,
· 4 × integrated peristaltic pumps with flow rate range at least from 4.5 – 33 ml/min.
c) Requirements of culture vessel

· Stainless steel culture vessel with H : D ratio 3 : 1, heating/cooling jacket and with total vessel volume 150 l and working volume range at least between 40‑100 L.

· Maximum operating conditions for the vessel should be at least -1/+3 bar and 150 °C.

· Vessel must be equipped with different connectors and ports, including connectors for exhaust condenser, 50 mm port and illumination as well as at least eight 19 mm ports and one CIP port and 3 lifting eyes, located at the lid of the vessel.
· Upper and lower side vessel wall should contain air inlet port, eight 25 mm standard ports, port for sampling system, sight glass and on bioreactor bottom port for harvest/drain valve.
· Additional equipment:

· Exhaust cooler with accessories,
· Light glass and removable lamp,
· Safety valve (3 bar),
· 3-channel inoculation kit,
· 1-channel inoculation kit,
· temperature sensor Pt 100,
· pH gel electrode,
· pO2-electrode (polarographic),
· Foam probe,
· Redox electrode complete,
· Sampling valve complete for sterile sampling,
· harvesting/drain valve,
· 4 dismountable baffles.
d) Requirements of stirring system:

· Bottom stirrer drive with agitation speed range at least from 20 - 700 rpm,
· Stirrer shaft with double mechanical seal,
· 3 × 6-blade Rushton impeller.
e) Requirements of aeration system:

Aeration system should enable aeration rate 1.5 vvm and should include:

· Rotameter with measuring range approx. 20 - 200 l/min,
· Gasflow controller with measuring/control range at least from 4 ‑ 200 l/min,
· Automatically gas mixing system (for gas mixing of Air and O2),
· Air inlet filter 0.2 µm complete,
· Exhaust filter 0.2 µm complete,
· Ringsparger,
· System for automatic overpressure measurement/control in bioreactor vessel.
f) Requirements of control system:

· Control unit made from stainless steel with all necessary connectors and cables,
· Digital fermentation control board (with PC compatible microprocessor),
· automatic control/regulation of temperature, pH, pO2, redox, foam, high foam, level and speed control,
· Software with following functions: 

· Process graphic display with 19” touch screen function,
· Digital calibration of sensors for pH (with recalibration possibility) and pO2,
· Totalizers for acid, base, antifoam, level and substrate pumps,
· Digital controllers for temperature, stirrer speed, pH, pO2, airflow, antifoam, level, substrates and aeration,
· Sequences for sterilization of full vessel,
· Safety shut down in case of overheating or intensive foaming,
· Password protection for critical parameters,
· Possibility for communication with computer.
g) Other bioreactor equipment and spare parts:

· Autoclavable storage/harvest bottle 20 L,
· Autoclavable storage/harvest bottle 10 L,
· 2 × autoclavable 1000 ml storage bottle,
· 3-channel kit for additions,
· 2 × 1-channel kit for additions,
· Additional pH gel electrode,
· Additional pO2-electrode (polarographic),
· 5 × Air inlet filter 0.2 µm,
· 5× Exhaust filter 0.2 µm,
· In-situ sterilizable addition unit complete,
· 2 × additional integrated peristaltic pump with speed range: 5 - 50 rpm,
· additional external peristaltic pump with speed range: 3 - 50 rpm with cables,
· Balance system for nutrient addition and software,
· Exhaust gas analyzer system for CO2 and O2 with measuring range for CO2 0-10%, and for O2 0-25%, with software.

4. Award criteria and conclusion of contract
The contracting authority will choose the most appropriate tender next to fulfilment of conditions of listed in 2

 HYPERLINK "javascript:IzberiBesedo2(5,867)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." nd (Complete tender

 HYPERLINK "javascript:IzberiBesedo2(7,871)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." ) and 3rd

 HYPERLINK "javascript:IzberiBesedo2(7,874)" \o "Označi besedo in ponudi alternativne prevode besede in stavka."  point (

 HYPERLINK "javascript:IzberiBesedo2(8,876)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." Technical requirements

 HYPERLINK "javascript:IzberiBesedo2(9,878)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." ) and based on offered price. The offered price includes VAT and it is expressed in Euros.
When a tender has not been presented in the way stipulated by the tender specifications, the contracting authority has the right to exclude it from the subsequent procedure.
The contracting authority does not allow the submission of variants.

After adopting the report on awarding the public contract, the contracting authority shall send, in line with the provisions of Article 79 of the Public Procurement Act to all bidders, its decision on awarding the public contract. 

The refused bidder can submit, to the contracting authority, a request for an additional explanation regarding the decision on awarding a public contract. This request has to clearly state which issues should be additionally explained by the contracting authority, and it should be submitted within three working days of the receipt of the notification regarding the contracting authority's decision. If the bidder’s request is not submitted duly, if it is incomplete and if it does not comply with the conditions for the submission of the additional explanation, the contracting authority shall dismiss the request. The contracting authority has to send the requested additional explanation regarding its decision, or a notification of the dismissal of the request, to the concerned bidder within three working days. The day of receipt of the additional explanation regarding the awarding of the public contract, or the day of the receipt of the decision on awarding the public contract if the request is dismissed are also the beginnings of the period in which a request for an audit can be submitted in line with the provisions of the Auditing of Public Procurement Procedures Act.
When sending out the notification on its decision, the contracting authority shall also invite the selected bidder to sign the contract in line with the specifications of the bid. If the selected bidder does not respond to this invitation (within 10 days of the receipt of the notification regarding the awarding of the public contract), it shall be considered that the bidder withdrew from the bidding procedure. In this case the contracting authority shall redeem the Tender Bond irrespective of the bidder’s reasons for withdrawal.

The contract will be concluded with selected bidder.
The deadline for payment is 8 days from receipt of correct invoice.
5. Delivery requirements and time limit for submission of tender
The tender with all the required forms and attachments must be submitted in a sealed envelope in person (Ms Katarina Drobnič Sterle) or by mail to the following address:
CO CIPKeBiP

Centre of excellence for integrated approaches in chemistry and biology of proteins
Jamova cesta 39

SI-1000 Ljubljana
Slovenia
In the lower left corner of the envelope must be a visible sign DO NOT OPEN – TENDER for contract by open procedure – Contract code: 06-2011. 
The reverse side must bear the full address of the sender, its telephone number and email address. 
The tender is considered timely if it will be received by the contracting authority no later than 18 February 2011 until 10.00 am or sent by post as registered mail with acknowledgement of receipt and received by the contracting authority by the above date.
Late and incorrectly marked tenders shall be excluded from the further procedure and returned to the senders without having been opened. 
Applications could be written in Slovenian or English language, the financial part of it must be shown in Euros.

6. Queries relating to the tender documentation
Queries relating to the tender documentation can only be placed through the Public-Procurement Portal of the Official Gazette of the Republic of Slovenia:  http://www.enarocanje.si/ . 
The bidders could send in writing to the above address the requests for additional queries until 15 February 2011 until 10.00 am. The contracting authority shall answer which will be published at Public-Procurement Portal of the Official Gazette of the Republic of Slovenia.

The contracting authority shall not answer queries over the telephone. 
7. Supplementations and changes of contract by open procedure

The contracting authority self reserves the right to amend or to supplement tender documents

 HYPERLINK "javascript:IzberiBesedo2(2,44)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." . In case

 HYPERLINK "javascript:IzberiBesedo2(4,51)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." , that the contracting authority within a time period will modify or supplement the tender documentation

 HYPERLINK "javascript:IzberiBesedo2(6,517)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." , all changes will be published on his web page (http://www.

 HYPERLINK "javascript:IzberiBesedo2(7,791)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." cipkebip.org/ ) and on Public-Procurement Portal.
After the deadline for receipt of tenders the contracting authority will not alter or supplement contract documentation.
8. The public opening of tenders

The public opening of tenders will be at 14.00 hours on 18 February 2011 at the following address:
CO CIPKeBiP 

Center of Excellence for integrated approaches in chemistry and biology of proteins

Jamova cesta 39, Classroom B220
Ljubljana 1000
Slovenia
The representatives of the bidders wishing to be present at the opening, should present a letter authorising them to attend the event to the selection board prior to the opening of the tenders.
9. Contract award notice
Bidders could expect Notice of award within 10 days after the deadline of submission of tenders.
10. Additional information

Operation

 HYPERLINK "javascript:IzberiBesedo2(2,15)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." , program of development of centre of excellence

 HYPERLINK "javascript:IzberiBesedo2(3,21)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." , with title “Centre of excellence for integrated approaches in chemistry and biology of proteins“ (

 HYPERLINK "javascript:IzberiBesedo2(5,34)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." No. operation OP13.1.1.2.02.0005

 HYPERLINK "javascript:IzberiBesedo2(6,37)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." )

 HYPERLINK "javascript:IzberiBesedo2(7,38)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." , partly finances European Union, namely from European regional development fund. Operation is carried out under the Operational programme for strengthening regional development potentials for period 2007-2013, developmental priority: Competitiveness of enterprises and research excellence; priority orientation: Improvement of competitive abilities of enterprises and research excellence. Operation partly finances European Union, namely from European regional development fund, in height of 85 %

 HYPERLINK "javascript:IzberiBesedo2(18,194)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." . Share of Slovenian co-financing is 15 %

 HYPERLINK "javascript:IzberiBesedo2(19,240)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." .
Legal Notice: 
Each bidder involved in the tendering procedure can request an audit of the procedure in line with the Auditing of Public Procurement Procedures Act (the Official Gazette of the Republic of Slovenia, No. 94/07). A request for auditing can be submitted during all phases of the awarding procedure, unless stipulated differently by the Public Procurement Act or the Auditing of Public Procurement Procedures Act. The deadline for submitting a request for an audit is ten days after the receipt of the notification regarding the contracting authority's decision.

In the request the bidder should indicate the contact person, the contracting authority, the title and the code of the contract by open procedure and the following documents should be included: the award decision note, well justified violations, evidences of violations and the certificate of paid tax of 2.500 EUR. A tax of 2500 EUR should be paid on the bank account at the Ministry of Finance, no. 0110-1000358802 - implementation of the national budget of Republic of Slovenia, in line by 22. Article of Law on the revision of public procurement procedures, reference 11 161100-7111290-00000010. In the case when the call for tender was announced also in the Official Journal of the European Communities, the tax is doubled.
The bidder has to submit two copies of the request for auditing to the contracting authority. Within three days after the receipt of the request for auditing, the contracting authority shall send one copy to the selected bidder. The bidder also sends a copy of the request for auditing to the Ministry of Finance. A request for auditing is sent off as registered mail with an acknowledgement of receipt, or as electronic mail provided it is verified with a qualified certificate.
Yours sincerely,









Livija Tušar, Ph.D.









Director
Annex:
1. A completed and signed bidder information Form A
2. A completed and signed pro-forma invoice Form B
3. A completed and signed declaration of eligibility Form C
4. Statement of compliance with technical requirements Form D
5. Statement of servicing response time Form E
6. Submitted evidence of collaborations within the past five years with different subscribers Appendix No. 1
7. A completed and signed draft sales agreement Appendix No. 2










Form A
Contracting Authority: 
CO CIPKeBiP

Centre of excellence for integrated approaches in chemistry and biology of proteins

Jamova cesta 39, 1000 Ljubljana

Tel. 01 477 3857, Fax. 01 477 3984

Code: 06-2011
BIDDER INFORMATION
Subject of the contract by open procedure is purchase of Pilot scale bioreactor. 
Information about the bidder:
	Name:

	

	Address:

	

	Legal representative:

	

	Tax Identification Number:

	

	Registration Number:

	

	Bank account numbers:

	

	Opened at a bank:

	

	Contact Person:

	

	GSM of contact person:

	

	Phone Number:

	

	Fax Number:

	

	E-mail address:

	

	Web page:


	









Responsible for signing the contract:








______________________________








Stamp and signature of the bidder
Place and date:

_______________________________











Form B

Contracting Authority: 

CO CIPKeBiP

Centre of excellence for integrated approaches in chemistry and biology of proteins

Jamova cesta 39, 1000 Ljubljana

Tel. 01 477 3857, Fax. 01 477 3984

Code: 06-2011
Bidder: ........................................................................
Name: .........................................................................
Address: ......................................................................
Tax indentification Number: ........................................
Bank account number: ................................................
PROFORMA INVOICE No.: ______________

Date: ..............................................
Place: ............................................
Subject of the contract by open procedure is purchase of Pilot scale bioreactor. 

	No.
	Description
	Quantity
	Unit Price(w/t VAT EUR)
	Total Price (w/t VAT EUR)

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	Subtotal (EUR)
	
	
	
	

	Discount(___%) (EUR)
	
	
	
	

	Subtotal taking into account the discount (EUR)
	
	
	
	

	20 %VAT (EUR)
	
	
	
	

	Total for payment (EUR)
	
	
	
	


Prices are final and all of them included the cost of importing and distribution. 
Delivery time: 8 months. 
Payment Terms: 8 days.
Proforma invoice validity: 9 months. 
Waranty:
Bidder: 
Stamp and signature of the bidder:










Form C
Contracting Authority
CO CIPKeBiP

Centre of excellence for integrated approaches in chemistry and biology of proteins

Jamova cesta 39, 1000 Ljubljana

Tel. 01 477 3857, Fax. 01 477 3984

Code: 06-2011
Bidder (company): ___________________

Address _____________________________

DECLARATION of eligibility

Under the criminal and material responsibility declare that we are eligible to participate:

	No
	Terms
	Meet the criteria (Yes/No) 

	1
	We declare that we have a valid registration to do business 
	

	2
	We declare that we have a valid permit from the competent authority for the business, which is the subject of the contract, if the permission of such activities is requested and provided on the basis of special law.
	

	3
	We declare, that we and each of our legal representatives, if legal persons is in question, have been not convicted of crimes specified in the first and second paragraph of 42nd Article of the Public procurement law. 
	

	4
	We declare that we are not in the list of business entities which, under the Prevention of Corruption Act, could not business with entities from 1, 2 and 3 paragraph of 28 articles on the Prevention of Corruption Act - PCA (Official Gazette RS, no. 8 / 04).
	

	5
	We declare that we are not in compulsory settlement, bankruptcy or liquidation, and against us has not been introduced the procedure of the compulsory settlement, bankruptcy or liquidation.
	

	6
	We declare that we have paid all outstanding obligations to the subcontractors in the previous public procurement procedures (Article 44 PPL-2).
	

	7
	We declare that we are in accordance with the requirements of the contracting authority capable of performing the contract object technically, personally, timely and financially.
	

	8
	We declare that in submitted tender has been presented a real and non-misleading data and evidences. We also declare that we are not in the list of bidders with negative references prepared by the Ministry of Finance.
	

	9
	We declare that we didn’t get any additional penalty regarding the participation in public procurements on the basis of Article 15.a of the liability of legal persons for criminal acts (Official Gazette RS, no. 98/04 - ZOPOKD - UPB1 and 65/08).
	

	10
	We declare that in submitted tender has been presented real and non-misleading data and evidences. Photocopies of enclosed documents are adequate to the original one.
	


The above figures are true and we agree that the contracting authority check official records. 
We declare that we will, on contracting authority’s request to provide some data for which an official record is not prepared, submit the adequate original documents.
By signing this form we also declare that we are familiar with all tender documentation and we accepted all conditions of this public contract.
We also declare that we will not have any claim to contracting authority if we will not be selected as the most favourable bidder.

Place___________________, date _____________________
Stamp and signature of bidder:
Form D

Contracting Authority 

 CO CIPKeBiP

Centre of excellence for integrated approaches in chemistry and biology of proteins

Jamova cesta 39, 1000 Ljubljana

Tel. 01 477 3857, Fax. 01 477 3984

Code: 06-2011
Bidder (Company): ___________________

Address: ___________________________
Declaration of compliance with technical requirements
Technical requirements for »Pilot scale bioreactor«:

	No
	Technical requirements
	Data value, an indication of regulation, or description. explanation of the requirements
	In which the present document and place at which the information is given
	Note

	I.
	II.
	III.
	IV.
	V.

	a
	General requirements:

- Compact laboratory bioreactor for microbial cultivation.
- Delivery of complete bioreactor system, ready to use, with all probes, pumps, vessel with drive, measurement and control instruments as well as connection to external systems.
- Possibility of bioprocess automation and software for »remote control«.
- Essential material and manufacture certificate documentation for further GMP qualification.
- Warranty for period of at least one year after delivery and successful installation.
	
	
	

	b
	Requirements of basic unit:

- Open frame supply unit with a complete pipe work system, culture vessel, control unit and other accessory systems.
- Temperature control system, which will be connected to steam, for regulation of fermentation temperatures between 8 °C above cooling water temperature and 90°C and sterilization temperature 130°C.
- System for automatic in-situ sterilization of culture vessel as well as air inlet and exhaust filter sterilization.

- Additional equipment for the supply unit: 3 × autoclavable 5000 ml storage bottle, Recirculation water cooler with adequate cooling capacity with temperature range -10°C to +40°C with installation material, 4 × integrated peristaltic pumps with flow rate range at least from 4.5 – 33 ml/min.
	
	
	

	c
	Requirements of culture vessel:
- Stainless steel culture vessel with H : D ratio 3 : 1, heating/cooling jacket and with total vessel volume 150 l and working volume range at least between 40 100 L.

- Maximum operating conditions for the vessel should be at least -1/+3 bar and 150 °C.

- Vessel must be equipped with different connectors and ports, including connectors for exhaust condenser, 50 mm port and illumination as well as at least eight 19 mm ports and one CIP port and 3 lifting eyes, located at the lid of the vessel.
- Upper and lower side vessel wall should contain air inlet port, eight 25 mm standard ports, port for sampling system, sight glass and on bioreactor bottom port for harvest/drain valve.
Additional equipment: Exhaust cooler with accessories, Light glass and removable lamp, Safety valve (3 bar), 3-channel inoculation kit, 
1-channel inoculation kit, temperature sensor Pt 100, pH gel electrode, pO2-electrode (polarographic), Foam probe, Redox electrode complete, Sampling valve complete for sterile sampling, harvesting/drain valve, 4 dismountable baffles.
	
	
	

	d
	Requirements of stirring system:

- Bottom stirrer drive with agitation speed range at least from 20 - 700 rpm,
- Stirrer shaft with double mechanical seal,
- 3 × 6-blade Rushton impeller.
	
	
	

	e
	Requirements of aeration system:

Aeration system should enable aeration rate 1.5 vvm and should include:

- Rotameter with measuring range approx. 20 - 200 l/min,
- Gasflow controller with measuring/control range at least from 4   200 l/min,
- Automatically gas mixing system (for gas mixing of Air and O2),
- Air inlet filter 0.2 µm complete,
- Exhaust filter 0.2 µm complete,
- Ringsparger,
- System for automatic overpressure measurement/control in bioreactor vessel.
	
	
	

	f
	Requirements of control system:

- Control unit made from stainless steel with all necessary connectors and cables,
- Digital fermentation control board (with PC compatible microprocessor),
- automatic control/regulation of temperature, pH, pO2, redox, foam, high foam, level and speed control,
Software with following functions: 

- Process graphic display with 19” touch screen function,
- Digital calibration of sensors for pH (with recalibration possibility) and pO2,
- Totalizers for acid, base, antifoam, level and substrate pumps,
- Digital controllers for temperature, stirrer speed, pH, pO2, airflow, antifoam, level, substrates and aeration,
- Sequences for sterilization of full vessel,
- Safety shut down in case of overheating or intensive foaming,
- Password protection for critical parameters,
- Possibility for communication with computer.
	
	
	

	g
	Other bioreactor equipment and spare parts:

- Autoclavable storage/harvest bottle 20L,
- Autoclavable storage/harvest bottle 10L,
- 2 × autoclavable 1000 ml storage bottle,
- 3-channel kit for additions,
- 2 × 1-channel kit for additions,
- Additional pH gel electrode,
- Additional pO2-electrode (polarographic),
- 5 × Air inlet filter 0.2 µm,
- 5× Exhaust filter 0.2 µm,
- In-situ sterilizable addition unit complete,
- 2 × additional integrated peristaltic pump with speed range: 5 - 50 rpm,
- additional external peristaltic pump with speed range: 3 - 50 rpm with cables,
- Balance system for nutrient addition and software,
- Exhaust gas analyzer system for CO2 and O2 with measuring range for CO2 0-10%, and for O2 0-25%, with software.
	
	
	


Instructions for filling the table:
The name, model/type and manufacturer of the offered product should be written under the serial numbers of I. to III. 
The actual information or a de facto state or the required regulations, standards, etc. or briefly explain the particular/individual requirement for each point of technical requirements should be written in column III. For requests which could be expressed numerically, the numerical value, or unit, quantity, and etc. must be entered. For other information is required to accurately describe the feature or enter a "Yes" if the requirement is met. In the case that the bidder shall enter "No" means that the bidder not fulfil the contracting authority demand.
In column IV the position of additional data about the offered product have to be specified i.e. a technical book in an annex, chapter, page of the attached documentation. To facilitate the review is also necessary to visible mark (underline, circle, tick pid) mentioned additional data in enclosed documentation about the offered product.

In a column V the bidder may enter additional comments / information in connection with the information requested in columns III and IV.

Place ___________________, date _____________________
Stamp and signature of bidder:










Form E

Contracting Authority 

 CO CIPKeBiP

Centre of excellence for integrated approaches in chemistry and biology of proteins

Jamova cesta 39, 1000 Ljubljana

Tel. 01 477 3857, Fax. 01 477 3984

Code: 06-2011
Bidder (Company): ___________________

Address: ___________________________

SERVICING RESPONSE TIME 
We hereby state that our servicing response time is not more than five working days after the receipt of the client’s notification.

This statement is an integral part of, and an annex to, the bidder’s application relating to the public tender for the supply of the Pilot scale bioreactor, contract code: 06-2011.
Place ___________________, date _____________________
Stamp and signature of the bidder:
Attachment no. 1

Contracting Authority 
CO CIPKeBiP

Centre of excellence for integrated approaches in chemistry and biology of proteins

Jamova cesta 39, 1000 Ljubljana

Tel. 01 477 3857, Fax. 01 477 3984

Code: 06-2011
Seller (Company): ___________________

Address _____________________________

Evidence of collaborations within the past five years with different subscribers
List at least three collaborations within the past five years with different subscribers.
	No.
	Reference customer 
	Equipment 
	Time of realization 

	
	
	
	

	
	
	
	

	
	
	
	


Place ___________________, date _____________________

Stamp and signature of bidder:

Attachment no. 2
SAMPLE SALES AGREEMENT

Code: 06-2011
Centre of excellence for integrated approaches in chemistry and biology of proteins

Jamova cesta 39, 1000 Ljubljana, represented by director dr. Livija Tušar, tax identification number: SI90147502, as a client
and
__________________________________________, represented by _______________________ ____________________________________________________________________, as a supplier
Hereby agree and conclude the following

Sales agreement
No._________

Article 1
The parties acknowledge that 
a) The client implemented the contract by open procedure on the basis of the 25th Article of the Public Procurement Act for the purchase of a Pilot scale bioreactor (hereinafter: the object of the agreement), 
b) The supplier was selected as the best provider for the delivery of the object of the agreement, 
c) Operation, the development of centre of excellence program, entitled Centre of Excellence for integrated approaches in chemistry and biology of proteins (operations no. OP13.1.1.2.02.0005), partly funded by the European Union, namely by the European Regional Development Fund. The operation is carried out under the Operational programme for Strengthening Regional Development Potentials 2007-2013, development priority: Competitiveness of enterprises and research excellence, policy priorities: Improving the competitive abilities of enterprises and research excellence. The operation is partly financed by the European Union through the European Regional Development Fund, up to 85%. Slovenian co-financing share is 15%.
Article 2

A supplier sells, client buys object of the agreement on the basis of pro-forma invoice no. _

 HYPERLINK "javascript:IzberiBesedo2(1,37)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,38)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,39)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,40)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,41)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,42)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _ from day _

 HYPERLINK "javascript:IzberiBesedo2(1,46)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,47)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,48)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,49)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,50)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,51)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,52)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,53)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,54)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _

 HYPERLINK "javascript:IzberiBesedo2(1,55)" \o "Označi besedo in ponudi alternativne prevode besede in stavka." _ .
The supplier declares that the object of agreement is fulfilling all technical requirements of the client determined in the tender documentation with contract code: 06-2010, dated 3 February 2011.
Article 3

The parties agreed that the contractual price for the object of the agreement is __________________________________EUR VAT is included and _________________ EUR without VAT. Both agreed that the final contractual price includes the purchase price; value added tax and other potential costs that could incur until reception of the object of the agreement. The supplier shall provide free-of-charge transportation of the equipment and its functional installation. 
Article 4
The delivery period for the equipment that is the object of the agreement is _____ days after the signing date of the sale agreement.

The client shall sign the handover note after establishing that the correctly delivered equipment has been properly installed and that the supplier presented to the client the warranty certificates.
Article 5

The supplier account the invoice after delivery of the object of the agreement and the client pays it within 8 days.
Article 6

The responsibility for keeping the equipment undamaged is transferred from the supplier to the client once the equipment is delivered to the client. 

The supplier provides the client with a warrantee to cover the quality of the equipment and its smooth operation at least to an extent equal to the extent of the warrantee given by the producer of the equipment to the supplier, i.e., ……..years following the date of the receipt of the equipment. 

During the warrantee period the supplier shall provide for an on-site repair service that shall be carried out in a response time of five working days after the receipt of a notification.   

If the equipment has not been repaired within the above period, the supplier shall provide, for the time during which the equipment is being repaired, an equivalent substitute piece of equipment or a part of the equipment. In this case the warranty period shall be extended by a time equal to the duration of the repair work.  

All transport costs and other costs relating to the repair work made during the warranty period are charged to the supplier. 

Article 7

The parties agreed that they will fulfill all requirements to execute the agreement. 
Each Contracting Party may propose amendments to this sale agreement. Amendments shall be valid only if made in writing as an annex to this sale agreement.

Article 8

In the case that the contracting parties cannot settle a dispute by common consent, they shall abide by the decision of the competent court in Ljubljana. 

Article 9

The sale agreement is drawn up in two identical copies so that each contracting party receives one copy. This agreement comes into force on the day when it is signed by both contracting parties.
Date:






Date:
Supplier:





Client:

Centre of excellence for integrated 

approaches in chemistry and biology of

 proteins
















Director:







Dr. Livija Tušar
1 / 19

[image: image1.png][image: image2.jpg]