[image: image1.png]. I .
Center odliénosti za integrirane pristope
v kemiji in biologiji proteinov





[image: image2.jpg]i
Nalozba v vaso prihodnost

OPERACI]O DELNO FINANCIRA EVROPSKA UNIJA
Evropski sklad za regionalni razvoj





CO CIPKeBiP
Center odličnosti za integrirane 

pristope v kemiji in biologiji proteinov

Jamova cesta 39, 1000 Ljubljana

Davčna številka: SI90147502
Tel. 01 477 3857, Fax. 01 477 3984

www.cipkebip.org 
Številka: 09-2011
Datum: 11.3.2011
POVABILO K ODDAJI PONUDBE

za izvedbo javnega naročila po odprtem postopku za
nakup »Komponent za manipulacijo fluorescenčnega signala«
Na podlagi Zakona o javnem naročanju - ZJN-2 (Uradni list RS, št. 128/06, Uradni list Evropske unije, št. 317/07, Uradni list RS, št. 16/08, 34/08, Uradni list Evropske unije, št. 314/09, Uradni list RS in št. 19/10), v skladu s 25. členom ZJN-2 in Sklepa o začetku oddaje javnega naročila z dne 3.1.2011, vas vabimo k oddaji ponudbe na javni razpis po odprtem postopku za dobavo Komponent za manipulacijo fluorescenčnega signala. 
Ocenjena vrednost javnega naročila znaša brez davka na dodano vrednost 150.000,00 EUR.
Razpisna dokumentacija je dosegljiva na internetnem naslovu: http://www.cipkebip.org/ .

Naročnik lahko v skladu z 80. členom ZJN-2 kadarkoli prekine postopek javnega naročanja.
1. Predmet naročila
Predmet javnega naročila je nakup Komponent za manipulacijo fluorescenčnega signala.
2. Popolna ponudba
Popolna ponudba mora vsebovati:

a) Izpolnjene in podpisane podatke o ponudniku Obrazec A
b) Izpolnjen in podpisan predračun Obrazec B
c) Izpolnjeno in podpisano izjavo o izpolnjevanju pogojev Obrazec C
d) Izpolnjeno in podpisano izjavo o izpolnjevanju tehničnih zahtev Obrazec D
e) Izpolnjeno in podpisano izjavo o odzivnem času za servis Obrazec E
f) Dokazila o sodelovanju ponudnika v zadnjih petih letih pri različnih naročnikih Priloga št. 1
g) Izpolnjen in podpisan vzorec kupoprodajne pogodbe Priloga št. 2
Dokumenti morajo biti zloženi po navedenem vrstnem redu in zvezani tako, da posameznih listov oziroma prilog ni možno naknadno vložiti, odstraniti ali zamenjati. Predloženi izpolnjeni obrazci morajo biti podpisani in opremljeni z žigom. Priložite tudi nevezano kopijo celotne ponudbe.
Ponudnik mora izpolnjevati naslednje pogoje (kar dokazuje z izjavo – Obrazec C):
1. Ponudnik je registriran za opravljanje dejavnosti.
2. Ponudnik ima veljavno dovoljenje pristojnega organa za opravljanje dejavnosti, ki je predmet javnega naročila, če je za opravljanje take dejavnosti na podlagi posebnega zakona dovoljenje potrebno.

3. Ponudnik in zakoniti zastopniki ponudnika, v kolikor gre za pravno osebo, niso bili pravnomočno obsojeni zaradi kaznivih dejanj določenih v 1. in 2. odstavku 42. člena ZJN-2.
4. Ponudnik ni uvrščen na seznam poslovnih subjektov, s katerimi, na podlagi Zakona o preprečevanju korupcije, ne smejo poslovati naročniki iz 1., 2. in 3. odstavka 28. člena Zakona o preprečevanju korupcije – ZPKor (Uradni list RS, št. 8/04).

5. Ponudnik ni v postopku prisilne poravnave, stečaja ali likvidacije in zoper nas ni bil uveden postopek prisilne poravnave, stečaja ali likvidacije.

6. Ponudnik ima plačane vse zapadle obveznosti do podizvajalcev v predhodnih postopkih javnega naročanja (44. člen ZJN-2).

7. Ponudnik je skladno z zahtevami naročnika tehnično, kadrovsko, terminsko in finančno sposoben izvesti predmetno naročilo.

8. Ponudnik ni uvrščen na seznam ponudnikov z negativnimi referencami, ki ga vodi Ministrstvo za finance.

9. Ponudniku ni bila izrečena stranska kazen prepovedi udeležbe na razpisih na področju javnega naročanja na podlagi 15.a člena Zakona o odgovornosti pravnih oseb za kazniva dejanja (Uradni list RS, št. 98/04 – ZOPOKD – UPB1 in 65/08).

Ostali pogoji:
a) Cene iz predračuna morajo biti veljavne ves čas trajanja pogodbenega razmerja. 
b) Vse cene morajo biti izražene v evrih. Končna cena mora vsebovati vse elemente, iz katerih je sestavljena. Popusti in DDV morajo biti prikazani ločeno.
c) Ponudba mora veljati vsaj 3 mesece.

d) Čas dobave ne sme biti daljši od 8 tednov od podpisa pogodbe, zaželeni pričakovani čas dobave je 4 tedne.

3. Tehnične zahteve
Zahteve in sestavni deli, ki morajo biti vključeni pri dobavi in funkcionalni postavitvi opreme:  
	Zap.št.
	Tehnična zahteva
	Podskupina
	Opis
	Komentar

Primer distributerja oziroma proizvajalca izdelka skupaj s specifikacijo reference oziroma kataloške številke
	Količina

	1
	Data Acquisition and Signal Output
	Nidaq-Karte
	NI PCI- 6259, 16 bit, 1 MS/s (Multichannel), 1,25 MS/s (1-channel), 32 analog inputs
	National Instruments, 779072-01
	3

	2
	Data Acquisition and Signal Output
	Connector Box
	SCB68 Shielded connector box
	National Instruments, 776844-01
	6

	3
	Data Acquisition and Signal Output
	Cable
	SHC68-68-EPM Cable (2m)
	National Instruments, 192061-02
	6

	4
	Software
	LabView
	LabVIEW Full Development System, Windows, Include 1 Year SSP
	National Instruments, 776670-35
	1

	5
	IR Filter (SC)
	Mirror mount
	Suprema Mirror Mount, 1.0 in.
	Newport, M-SS100-F2KN
	61

	6
	IR Filter (SC)
	Mirror mount
	Pedestal Post, 25.4 mm Height, 25.4 mm Diameter, M4 Thread
	Newport, M-PS-1
	51

	7
	IR Filter (SC)
	Mirror mount
	Clamping Fork, 1.0 in. (25.4 mm) Diameter Post
	Newport, PS-F
	49

	8
	Excitation splitting and combining
	Dichroic mirror mount
	Pedestal Post, 12.7 mm Height, 25.4 mm Diameter, M4 Thread
	Newport, M-PS-0.5
	8

	9
	Fiber Delay
	Coupler holder
	Suprema Clear Edge Mirror Mount, 1.0 in.
	Newport, M-SN100-F2KN
	6

	10
	Fiber Delay
	Height adapter (3.2mm)
	Spacer, 0.125-in. thk, 1-in. Dia., 8-32(M4) CLR
	Newport, PS-0.125
	6

	11
	Fiber Delay
	Height adapter (1.6mm)
	Spacer, 0.063-in. thk, 1-in. Dia., 8-32(M4) CLR
	Newport, PS-0.063
	6

	12
	STED / Exc Combination
	Mount
	Cube Beamsplitter Holder, 1 inch, For U100A Mount
	Newport, UPA-CH1
	1

	13
	Alignment Scanner
	Height adapter (0-->7.3 mm)
	Spacer, 0.250-in. thk, 1-in. Dia., 8-32(M4) CLR
	Newport, PS-0.25
	4

	14
	Alignment Scanner
	Height adapter (0-->7.3 mm)
	Spacer, 0.031-in. thk, 1-in. Dia., 8-32(M4) CLR
	Newport, PS-0.031
	4

	15
	Polarization Circularizer
	Mount
	Platform Rotation Stage, 40mm , Metric
	Newport, M-RS40
	1

	16
	Polarization Circularizer
	Mount
	Adapter Plate, 25 x 25 mm to 40 x 40 mm Stage
	Newport, M-B-1.25
	1

	17
	Polarization Circularizer
	Mount
	Slotted Base Plate, 25 or 40mm to 65mm
	Newport, M-B-2B
	1

	18
	Optical Plate
	Optical Table
	Metric, M6 Holes
	Newport, M-ST-UT2-410-18
	4

	19
	Optical Plate
	Isolators (Set of 4) (to be used with M-ST-UT2-410-18)
	Height 19.5 inch
	Newport, I-2000-419,5
	4

	20
	Optical Plate
	IQ damper upgrade kit (to be used with M-ST-UT2-410-18)
	
	Newport, IQ-200-UG-18
	2

	21
	Optomechanics
	Pedestal Post
	1 in. (25.4 mm) 45° Mirror Holder
	Newport, UPA-45D1
	5

	22
	Excitation splitting and combining
	Dichroic mirror mount
	Classic Center Mirror Mount, 2.0 in. Diameter, 3 Knob Adjustment
	Newport/New Focus, 9855
	6

	23
	Tools
	Spectrometer
	USB4000, Grating #3, DET4-350-1000, Slit 25, L4 including SpectraSuite Software
	Ocean Optics, USB-4000 user defined (refer to quote #80790-1)
	1

	24
	Tools
	Spectrometer
	Fiber
	Ocean Optics, QP400-2-VIS-BX
	1

	25
	Telescope
	Lens Mount
	OH 40-D25-FGS-XY,  XY adjusting mounting plates for ø 25 mm
	Owis, 14.202.0025
	9

	26
	AOTF
	AOTF
	Akustooptischer Multiline-Modulator
	Pegasus Optik / AA Opto, AA.AOTF.nC-VIS-TN
	1

	27
	AOTF
	AOTF
	Controller (to be used with AA.AOTF.nC-VIS-TN)
	Pegasus Optik / AA Opto, AA.MDS.8C-B
	1

	28
	PMT Detection group
	PMT
	MD 963 CPM DC-Module, analog (with power supply)
	Perkin Elmer/Excelitas, 95361019
	2

	29
	APD detection group
	APD
	Si APD Single Photon Counting Module (with power supply)
	Perkin Elmer/Excelitas Can., SPCM-AQRH-13-FC
	4

	30
	Tools
	DPSS laser module  593 nm
	593.5 nm, typ. 1..2 mW, size 15 x 90 mm, 3 VDC, <500 mA (with power supply)
	Roithner Laser Technik, RLY-01
	1

	31
	Tools
	Laser diode module 650nm (both)
	650 nm, 5 mW, focusable, glass lens, 4-6V, 13 x 52 mm (with power supply)
	Roithner Laser Technik, LDM650/5LT
	1

	32
	Tools
	Laser diode module  635 nm
	635 nm, 5 mW, focusable, glass lens, 4-6V, 13 x 52 mm (with power supply)
	Roithner Laser Technik, LDM635/5LT
	1

	33
	Tools
	Laser diode module  670 nm
	670 nm, typ. 2 mW, focusable, 8 x 27.5 mm, 3 VDC (with power supply)
	Roithner Laser Technik, RLDC670-2.2-3
	1

	34
	Vortex
	Vortex Phase Plate
	Vortex Charge 1
	RPC Photonics, VPP-1
	2

	35
	Fiber Delay
	Fiber Collimator Exc
	collimator, monochromat f=8mm, AR 390-670, FC-PC
	Schäfter + Kirchhoff, 60FC-0-M8-33
	3

	36
	Fiber Delay
	Adapter: 12mm to 25 mm
	Adapter for fiber collimators 12mm --> 25 mm
	Schäfter + Kirchhoff, 12C-AM25
	7

	37
	Fiber Delay
	Fiber (5m) STED
	Single Mode, Pol maintain., FC-APC, 5m, Cable Reel P7-12, for 700-750 nm (!)
	Schäfter + Kirchhoff, PMC-780-5.1-NA012-3-APC-500-P (refer to quotation # 702760)
	1

	38
	Fiber Delay
	Fiber Colimator STED
	collimator, monochromat, f=8mm, AR 630-980 nm, FC-APC
	Schäfter + Kirchhoff, 60FC-4-M8-10
	3

	39
	Fiber Delay
	Tools
	wrench
	Schäfter + Kirchhoff, 60EX-4
	1

	40
	Fiber Delay
	Tools
	screw driver
	Schäfter + Kirchhoff, 9D-12
	1

	41
	STED/Exc incoupler
	STED Fiber (3m)
	Single Mode, Pol maintain., FC-APC, 3m, Cable Reel P7-12, for 700-750 nm (!)
	Schäfter + Kirchhoff, PMC-780-5.1-NA012-3-APC-300-P (refer to quotation # 702760)
	1

	42
	STED/Exc incoupler
	Exc Fiber (3m)
	Single Mode, Pol maintain., FC-PC, 3m, Cable Reel P6-32, for 560-650 nm (!)
	Schäfter + Kirchhoff, PMC-630-4,6-NA011-3-0PC-300-P (refer to quotation # 702760)
	1

	43
	STED outcoupler 
	Collimator
	collimator, f=20, AR 630-980, FC-APC
	Schäfter + Kirchhoff, 60FC-4-M20-10
	1

	44
	Exc outcoupler
	Collimator
	Precision FC-PC adapter with Tilt alignment
	Schäfter + Kirchhoff, 25AM-0-FC
	1

	45
	Widefield detection
	CCD-camera
	Ascent A285 with C mount adapter
	Scientific Instr. / Apogee, 
	1

	46
	Detection filter
	Notch Filter - STED
	720 nm blocking edge BrightLine multiphoton short-pass emission filter
	Semrock, FF01-720/SP-25
	1

	47
	Vortex
	Mount
	Low Profile Aluminium Translation Stages, Ø50 mm clear aperture
	Standa, 7T167-25
	4

	48
	Vortex
	Mount
	Angle Bracket 
	Standa, 2AB167-25
	2

	49
	Widefield detection group
	CCD-camera C-Mount
	Microscopy USB camera, C-Mount, 5MP, CMOS chip
	Tecmon/ Tucsen, 1.3MP TCA-1.31
	1

	50
	Tools
	Oscilloscope
	Digital Store oscilloscope, 200 MHz, 2GS/s, 2-CH
	Tektronix, TDS2022C
	1

	51
	Support Laser Unit
	Optical Breadboard
	UltraLight Series I Breadboard - 900 mm x 900 mm x 25 mm
	Thorlabs, PBG51512
	1

	52
	Support Microscope Unit
	Optical Breadboard
	UltraLight Series I Breadboard - 1200 mm x 900 mm x 25 mm
	Thorlabs, PBG51513
	1

	53
	IR Filter (SC)
	Mirror mount
	Optical Post, M4 Stud, M6 Tapped, Ø12.7 mm x 20 mm
	Thorlabs, TR20/M
	7

	54
	IR Filter (SC)
	Mirror mount
	Ø12.7 mm x 30 mm Stainless Steel Optical Post, M4 Stud, M6 Tapped
	Thorlabs, TR30/M
	7

	55
	IR Filter (SC)
	Mirror mount
	Ø12.7 mm x 40 mm Stainless Steel Optical Post, M4 Stud, M6 Tapped
	Thorlabs, TR40/M
	7

	56
	IR Filter (SC)
	Mirror mount
	Ø12.7 mm x 50 mm Stainless Steel Optical Post, M4 Stud, M6 Tapped
	Thorlabs, TR50/M
	7

	57
	IR Filter (SC)
	Mirror mount
	Universal Post Holder, L = 25.4
	Thorlabs, UPH1/M
	7

	58
	IR Filter (SC)
	Mirror mount
	Universal Post Holder, Spring-Loaded Locking Thumbscrew, L = 50.8 mm
	Thorlabs, UPH2/M
	7

	59
	IR Filter (SC)
	Beam Stop
	Beam Trap, pulsed version
	Thorlabs, BT510/M
	1

	60
	Laser power control
	Shutter mount
	Ø1" Pedestal Pillar Post
	Thorlabs, RS3P/M
	4

	61
	Laser power control
	Shutter mount
	Post clamp 1" with M6 mounting ports
	Thorlabs, RM1B/M
	4

	62
	Laser power control
	Shutter mount
	Small Clamping Fork
	Thorlabs, CF125
	21

	63
	Laser power control
	Attenuation via Pol
	Precision Cage Rotation Mount with Micrometer Drive
	Thorlabs, CRM1P/M
	5

	64
	Fiber Delay
	Fiber (5m) Exc
	Patch Cable, FC/UPC, 488 nm, PM, Panda Style, 5m, 460 - 630 nm
	Thorlabs, P1-488PM-FC-5
	1

	65
	STED outcoupler 
	Centering
	SM1 Threaded 30 mm Cage Plate, 0.35" Thick, Metric
	Thorlabs, CP02/M
	3

	66
	STED outcoupler 
	Centering
	Ring-Activated SM1 Iris Diaphragm
	Thorlabs, SM1D12D
	7

	67
	STED / Exc Combination
	Polarizing BS
	620-1000 nm Polarizing Beamsplitter Cube, 20 mm
	Thorlabs, PBS202
	1

	68
	STED / Exc Combination
	Mount
	High Precision Rotation Mount, Metric
	Thorlabs, PR01/M
	1

	69
	STED / Exc Combination
	Mount
	Adapter Plate for PR01/M, Metric
	Thorlabs, PR01A/M
	2

	70
	Pellicle Beamsplitter
	Pellicle
	45:55 1" pellicle beam splitter coated for 400-700nm
	Thorlabs, BP145B1
	2

	71
	Pellicle Beamsplitter
	Mount
	Kinematic 1" pellicle mount
	Thorlabs, KM100BP
	2

	72
	Pellicle Beamsplitter
	Mount
	Bottom Plate Only of the KB25/M magnetic base plate
	Thorlabs, KBB25/M
	2

	73
	Pellicle Beamsplitter
	Mount
	M4 Threaded Kinematic Top Plate for magnetic base plate
	Thorlabs, KBT25T/M
	2

	74
	APD detection group
	Multimode Fiber
	1 Meter Graded Index 62.5 µm Multimode Patch Cable: FC/PC, NA 0.227
	Thorlabs, M31L01
	3

	75
	APD detection group
	Fc Adapter
	Fc adapter plate
	Thorlabs, SM1FC
	4

	76
	APD detection group
	Fc Adapter Holder
	SM1-Threaded 30 mm Cage Plate, 0.5" Thick, Metric
	Thorlabs, CP02T/M
	11

	77
	APD detection group
	Lens Holder
	SM1 Zoom Housing for Ø1" Optics, Non-Rotating, 4 mm Travel 
	Thorlabs, SM1ZM
	2

	78
	APD detection group
	Lens Holder
	XY Translator with Micrometer Drives, Metric 
	Thorlabs, ST1XY-S/M
	2

	79
	APD detection group
	Lens Tubes
	Threaded lens tube 3''
	Thorlabs, SM1L30
	2

	80
	APD detection group
	Lens Tubes
	Threaded lens tube 1''
	Thorlabs, SM1L10
	4

	81
	APD detection group
	Lens Tubes
	Threaded lens tube 0.5''
	Thorlabs, SM1L05
	2

	82
	APD detection group
	Mount
	Cage assembly Rod 3''
	Thorlabs, ER3
	12

	83
	APD detection group
	Mount
	Cage assembly Rod 6''
	Thorlabs, ER6
	4

	84
	Detection filter
	Mount Interference filter
	Cage assembly rod 2''
	Thorlabs, ER2
	8

	85
	Detection filter
	Mount Interference filter
	Cage assembly rod 1''
	Thorlabs, ER1
	4

	86
	Detection filter
	Mount notch filter
	Cage Assembly Rod, 1.5" Long, Ø6 mm, Qty. 1
	Thorlabs, ER1.5
	6

	87
	PMT Detection group
	PMT Mount
	Base plate ,  12.5mm thick
	Thorlabs, BA2S6/M
	1

	88
	PMT Detection group
	PMT Mount
	Base plate spacer, 4 mm thick
	Thorlabs, Ba2S4/M
	1

	89
	PMT Detection group
	ND Filter
	AR coated ND filter, mounted
	Thorlabs, NE20A-A
	1

	90
	PMT Detection group
	ND Filter
	AR coated ND filter, mounted
	Thorlabs, NE10A-A
	1

	91
	PMT Detection group
	Mount
	Cage assembly rod 2"
	Thorlabs, ER2
	10

	92
	Widefield detection group
	Adapter
	Adapter with External C-Mount Threads and Internal SM1 Threads
	Thorlabs, SM1A9
	1

	93
	Widefield detection group
	Lens Tube coupler
	SM1 Coupler, External Threads, 0.5" Long
	Thorlabs, SM1T2
	7

	94
	Widefield detection group
	xy- translator
	XY Translator with 100 TPI Drives, Metric 
	Thorlabs, ST1XY-A/M
	1

	95
	Widefield detection group
	Mount
	Cage assembly rod 3"
	Thorlabs, ER3
	2

	96
	Tools
	fiber coupling of cw laser diodes
	Aluminum Breadboard, 300 mm x 300 mm x 12.7 mm, M6 Threade
	Thorlabs, MB3030/M
	1

	97
	Tools
	fiber coupling of cw laser diodes
	3 Meter Graded Index 62.5 µm Multimode Patch Cable: FC/PC
	Thorlabs, M31L03
	1

	98
	Tools
	fiber coupling of cw laser diodes
	5 Meter Graded Index 62.5 µm Multimode Patch Cable: FC/PC
	Thorlabs, M31L05
	1

	99
	Tools
	Motorized Polarization tool
	High-Speed Si Detector, 200-1100 nm
	Thorlabs, DET10A/M
	3

	100
	Tools
	Motorized Polarization tool
	Power supply 12VDC for rotation mount
	Thorlabs, PMPS12
	2

	101*
	*Breadbord with base
	Optical Breadboard
	1500 x 1250 x 110mm

'PerformancePlus Series'

M6/25mm
	Thorlabs, PBI52524
	1

	102*
	*Breadbord with base
	Isolation Frame
	Active Self Leveling


	Thorlabs, PFA51504
	1

	103*
	*Breadbord with base
	AIR

COMPRESSOR
	220/240V, 50hz,  EU
	Thorlabs, PTA511EC
	1

	104
	Tools
	Motorized Polarization tool
	Threaded lens tube 2"
	Thorlabs, SM1L20
	4

	105
	Tools
	Motorized Polarization tool
	AR coated ND filter, mounted
	Thorlabs, NE20A-B
	2

	106
	Tools
	Double pinhole
	Slottet lens tube 3"
	Thorlabs, SM1L30C
	2

	107
	Tools
	Double pinhole
	Extension tube 210mm
	Thorlabs, SM1E34-200
	2

	108
	Tools
	Double pinhole
	Threaded kinematic mount
	Thorlabs, KC1-T
	2

	109
	Tools
	Double pinhole
	APC Fiber Collimator, f=15mm, 600-1500nm
	Thorlabs, F260APC-B
	2

	110
	Tools
	Double pinhole
	PC Fiber Collimator, f=15mm, 600-1500nm
	Thorlabs, F260FC-B
	2

	111
	Tools
	shear plate
	Shearing Interf., 1-3 mm Beam Dia.Shear Plate
	Thorlabs, SI035P
	1

	112
	Tools
	shear plate
	Shear Plate, 2.5-5 mm Beam Diameter
	Thorlabs, SI050P
	1

	113
	Tools
	shear plate
	Shear Plate, 5-10 mm Beam Diameter
	Thorlabs, SI100P
	1

	114
	Tools
	Alignment disk
	Frosted glass alignment disk, 1 inch, Mounted
	Thorlabs, DG10-1500-H1-MD
	2

	115
	Polarization Optics
	Retarders
	Mounted Achromatic Half-Wave Plate, 690 - 1200 nm
	Thorlabs, AHWP05M-980
	1

	116
	Polarization Optics
	Retarders
	Mounted Achromatic Quarter-Wave Plate, 690 - 1200 nm
	Thorlabs, AQWP05M-980
	1

	117
	Polarization Optics
	Retarders
	Mounted Achromatic Quarter-Wave Plate, 400 - 800 nm
	Thorlabs, AQWP05M-600
	1

	118
	Polarization Optics
	Retarders
	Mounted Achromatic Half-Wave Plate, 400 - 800 nm
	Thorlabs, AHWP05M-600
	1

	119
	Optomechanics
	Pedestal Post
	Ø25 mm Pedestal Pillar Post, M4 Taps, 38 mm Long, Metric
	Thorlabs, RS1.5P4M
	10

	120
	Scanner
	Yanus IV Scanner
	Yanus IV Digital Scan Head
	Till Photonics, 0000-585-20015
	1

	121
	Scanner
	Scanning Power Unit
	Scanning Power Unit with DSC
	Till Photonics, 0000-585-20002
	1

	122
	Scanner
	Scanning Control Unit
	Scanning Control Unit, 2 axes
	Till Photonics, 0000-585-20017
	1

	123
	Tools
	Power Meter
	Laser power meter, LabMax-TO 
	Coherent, 1104619
	1

	124
	Tools
	Power Meter
	Sensor - VIS, LM-2 VIS 
	Coherent, 1098298
	1

	125
	Tools
	Power Meter
	1000:1 Attenuator
	Coherent, 1098318
	1

	126
	Tools
	Power Meter
	FC Fiber Optic Connector- part1
	Coherent, 1057923
	1

	127
	Tools
	Power Meter
	FC Fiber Optic Connector- part2
	Coherent, 1057921
	1

	128
	Laser
	Laser 375 nm
	SYS: Cube 375-16 CIRCULAR: 375nm: 16 mW
	Coherent, 1112774
	1

	129
	Software
	Imspector
	Imspector Image Acquisition & Analysis Software
	Max Planck-Innovation, 
	1

	130


	Computer
	
	Computer (Dual Core, >= 3GHz, >=4GB RAM, Gigabit Ethernet) with 3 PCI-Slots, Screen, Mouse Keyboard, Windows 7 (or XP)
	
	1


Kratko ime podjetja

Daljše ime podjetja
AA opto


AA Opto-Electronic

Pegasus


PEGASUS OPTIK GmbH

Scientific Instr. 

SI Scientific Instr. GmbH
Vsa oprema od zap. št. 1 do zap. št. 101 ter od zap. št. 104 do zap.št. 130 mora biti dostavljena in funkcionalno postavljena na naslovu Laser-Laboratorium Göttingen e.V. (LLG), Hans-Adolf-Krebs-Weg 1, 37077 Göttingen, Nemčija.
Oprema v skladu z zahtevami iz navedenega popisa, ki je označena z zvezdico * pod zaporednimi številkami 101, 102 in 103, mora biti dostavljena na naslov LN-MCP, Zaloška 4, Ljubljana, Slovenija.
4. Kriteriji za izbiro in sklenitev pogodbe

Naročnik bo izločil ponudbe, ki ne bodo izpolnjevale vseh pogojev naročnika, navedenih v 2. (Popolna ponudba) in 3. točki (Tehnične zahteve) in jih ne bo ocenjeval. Naročnik ima pravico ponudbo izločiti iz nadaljnje obravnave, v kolikor ponudba ni sestavljena tako, kot je določeno z razpisnimi pogoji.

Ponudbena cena mora biti izražena v evrih in ne sme preseči 180.000 EUR, vključno z DDV. Vse posamezne postavke cene morajo biti izražene v evrih. Končna cena mora vsebovati vse elemente iz katerih je sestavljena, vključno s stroški prevoza, s funkcionalno postavitvijo opreme in usposabljanjem uporabnikov. Popusti in DDV morajo biti prikazani ločeno.
Naročnik ne dopušča predložitev variantnih ponudb.

Merilo za izbor najustreznejšega ponudnika je cena. Ob izpolnjevanju vseh tehničnih zahtev naročnika bo izbran ponudnik, ki bo ponudil najnižjo ponudbeno ceno z vključenim DDV in ceno brez DDV.

V primeru, da  bo več ponudnikov ponudilo enako najugodnejšo ceno, bo naročnik izbral ponudnika, ki bo ponudil najkrajši dobavni rok.
Po sprejemu poročila o oddaji javnega naročila bo naročnik poslal vsem ponudnikom odločitev o oddaji naročila v skladu z določili 79. člena ZJN-2.
Ponudnik, ki ni bil izbran, lahko vloži pri naročniku zahtevo za dodatno obrazložitev odločitve o oddaji naročila, v kateri mora jasno navesti o čem mora naročnik podati obrazložitev. Zahteva se lahko vloži v 3 delovnih dneh po sprejemu odločitve naročnika. Če ponudnik ne vloži zahteve pravočasno ali če je ta nepopolna ali če niso izpolnjeni pogoji za vložitev zahteve za dodatno obrazložitev jo naročnik zavrže. Naročnik mora poslati ponudniku dodatno obrazložitev odločitve ali odločitev o zavrženju zahteve v treh delovnih dneh po prejemu zahteve. Od dneva prejema dodatne obrazložitve, v primeru zavrženja zahteve za dodatno obrazložitev pa od dneva prejema odločitve o oddaji naročila, teče rok za uveljavitev pravnega varstva v postopku javnega naročanja.

Naročnik bo izbranega ponudnika s poslano odločitvijo hkrati pozval k podpisu pogodbe v skladu s ponudbo. Če se izbrani ponudnik ne odzove na poziv (v roku 10 dni od prejema odločitve o oddaji naročila), se šteje, da je odstopil od ponudbe.

Z izbranim ponudnikom bo sklenjena pogodba.

Rok plačila je 60 dni od prejema pravilno izstavljenega računa. 

5. Način in rok oddaje ponudbe
Ponudbe z vsemi zahtevanimi obrazci in prilogami morajo biti oddane v zaprti ovojnici osebno (ga. Katarini Drobnič Sterle) ali po pošti na naslov:

CO CIPKeBiP

Center odličnosti za integrirane 

pristope v kemiji in biologiji proteinov

Jamova cesta 39, 1000 Ljubljana

V levem spodnjem kotu ovojnice mora biti vidna oznaka NE ODPIRAJ – PONUDBA ZA JAVNO NAROČILO PO ODPRTEM POSTOPKU – Številka naročila: 09-2011
Na hrbtni strani mora biti naveden polni naslov pošiljatelja, njegova telefonska številka in elektronski naslov.

Za pravočasno oddano bo štela ponudba, ki bo dostavljena do vključno 28.3.2011 do 14.00 ure ali poslana po pošti priporočeno s povratnico in bo prispela na naslov naročnika do navedenega roka. 

Nepravočasno prispele in nepravilno označene ponudbe bodo izločene iz nadaljnjega postopka in bodo neodprte vrnjene ponudniku.
Vloge so lahko napisane v slovenskem ali v angleškem jeziku, finančni del pa mora biti prikazan v evrih.

6. Pojasnila razpisne dokumentacije
Pojasnila v zvezi z razpisno dokumentacijo se sme zahtevati preko Portala javnih naročil pri Uradnem listu RS: http://www.enarocanje.si.

Ponudniki lahko v pisni obliki na zgornji naslov zahtevajo dodatna pojasnila do 24.3.2011 do 10.00 ure. Naročnik bo posredoval odgovor, ki bo objavljen na Portalu javnih naročil pri Uradnem listu RS.

Telefonskih pojasnil naročnik ne bo posredoval.

7. Dopolnitve in spremembe javnega naročila po odprtem postopku 
Naročnik si pridržuje pravico spremeniti ali dopolniti razpisno dokumentacijo. V primeru, da bo naročnik v roku za predložitev ponudb spremenil ali dopolnil razpisno dokumentacijo, bo to objavil na svoji spletni strani (http://www.cipkebip.org) in na Portalu javnih naročil. 
Po poteku roka za prejem ponudb naročnik ne bo spreminjal ali dopolnjeval razpisne dokumentacije.

8. Odpiranje ponudb
Javno odpiranje ponudb bo 29.3.2011 ob 09.00 uri na naslovu 

CO CIPKeBiP

Center odličnosti za integrirane 

pristope v kemiji in biologiji proteinov

Jamova cesta 39, 1000 Ljubljana

Predavalnica B220.

Prisotni predstavniki ponudnikov morajo pred pričetkom javnega odpiranja ponudb komisiji izročiti pisna pooblastila za sodelovanje na javnem odpiranju.

9. Obvestilo o oddaji
Obvestilo o oddaji javnega naročila bodo ponudniki prejeli predvidoma v roku 10 dni od roka za oddajo ponudbe.
10. Dodatne informacije
Operacijo, program razvoja centra odličnosti, z naslovom Center odličnosti za integrirane pristope v kemiji in biologiji proteinov (št. operacije OP13.1.1.2.02.0005), delno financira Evropska unija, in sicer iz Evropskega sklada za regionalni razvoj. Operacija se izvaja v okviru Operativnega programa krepitve regionalnih razvojnih potencialov za obdobje 2007-2013, razvojne prioritete: Konkurenčnost podjetij in raziskovalna odličnost; prednostne usmeritve: Izboljšanje konkurenčnih sposobnosti podjetij in raziskovalna odličnost. Operacijo delno financira Evropska unija, in sicer iz Evropskega sklada za regionalni razvoj, v višini 85%. Slovenski delež sofinanciranja je v višini 15%.

Pravni pouk:

Vsak ponudnik, ki je sodeloval v postopku javnega razpisa, sme zahtevati revizijo postopka v skladu z Zakonom o reviziji postopkov javnega naročanja ZRPJN (Uradni list RS št. 94/07). Zahtevek za revizijo se lahko vloži v vseh stopnjah oddaje javnega naročila, razen če ZJN-2 in ZRPJN ne določata drugače. Po odločitvi o oddaji naročila je rok za vložitev zahtevka deset dni od prejema obvestila o odločitvi o oddaji naročila.
Vlagatelj mora v zahtevku navesti kontaktno osebo, naziv naročnika, javno naročilo in priložiti naslednje dokumente: odločitev o oddaji naročila, obrazložitev kršitev, dokaze o kršitvah ter potrdilo o vplačilu takse v višini 2.500 EUR. Takso mora plačati na transakcijski račun Ministrstva za finance, št. 0110-1000358802 – izvrševanje proračuna RS, v skladu z 22. členom Zakona o reviziji postopkov javnega naročanja, sklic 11 161100-7111290-00000010. V primeru, da je razpis objavljen tudi v Uradnem glasilu Evropske skupnosti, se taksa iz prejšnjega stavka podvoji.
Vlagatelj mora vložiti zahtevek za revizijo v dveh izvodih pri naročniku. Naročnik kopijo zahtevka za revizijo v treh dneh od prejema posreduje izbranemu ponudniku. S kopijo zahtevka za revizijo pa vlagatelj obvesti tudi ministrstvo, pristojno za finance. Zahtevek za revizijo se vroči po pošti priporočeno s povratnico ali v elektronski obliki, če je overjen s kvalificiranim potrdilom.
S spoštovanjem,










    Dr. Livija Tušar










Poslovna direktorica

Priloge: 

1. Obrazec A Podatki o ponudniku
2. Obrazec B Predračun
3. Obrazec C Izjava o izpolnjevanju pogojev
4. Obrazec D Izjava o izpolnjevanju tehničnih zahtev
5. Obrazec E Izjava o odzivnem času za servis
6. Priloga št. 1 Dokazila o sodelovanju ponudnika v zadnjih petih letih pri različnih naročnikih
7. Priloga št. 2 Izpolnjen in podpisan vzorec kupoprodajne pogodbe










Obrazec A
Naročnik: CO CIPKeBiP

Center odličnosti za integrirane 

pristope v kemiji in biologiji proteinov

Jamova cesta 39, 1000 Ljubljana

Tel. 01 477 3857, Fax. 01 477 3984

Številka razpisa: 09-2011
PODATKI O PONUDNIKU
Predmet javnega naročila po odprtem postopku je nakup komponent za manipulacijo fluorescenčnega signala
Podatki o ponudniku:

	Naziv:

	

	Naslov:

	

	Zakoniti zastopnik:

	

	Davčna številka:

	

	Matična številka:

	

	Številka vpisa v sodni register (št. vložka):
	

	Številke transakcijskih računov:
	

	Odprtih pri banki/bankah:

	

	Kontaktna oseba:

	

	GSM kontaktne osebe:

	

	Številka telefona:

	

	Številka telefaxa:

	

	Elektronski naslov:

	

	Spletni naslov:


	


Odgovorna oseba za podpis pogodbe:

______________________________

Žig in podpis ponudnika
Kraj in datum: _______________________________










Obrazec B

Naročnik: CO CIPKeBiP

Center odličnosti za integrirane 

pristope v kemiji in biologiji proteinov

Jamova cesta 39, 1000 Ljubljana

Tel. 01 477 3857, Fax. 01 477 3984

Številka razpisa: 09-2011
PONUDNIK:

Naziv: ..............................................................
Naslov: ............................................................
Davčna številka: ..............................................
Matična številka: ..............................................
Transakcijski račun: .........................................
P R E D R A Č U N št.: ______________

Datum izdaje: 

Kraj Izdaje:

JAVNO NAROČILO po odprtem postopku za nakup komponent za manipulacijo fluorescenčnega signala
	Zap. Št.
	 Opis artikla
	Količina
	Cena na enoto (brez DDV v EUR)
	Skupaj (brez DDV v EUR)

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	Skupaj (brez DDV v EUR)
	
	
	
	

	Popust (___%) (EUR)
	
	
	
	

	Cena skupaj z vključenim popustom (EUR)
	
	
	
	

	20% DDV (EUR)
	
	
	
	

	Skupaj za plačilo (EUR)
	
	
	
	


Cene so končne in v njih so všteti vsi stroški za izvedbo javnega naročila vključno s stroški prevoza, s funkcionalno postavitvijo opreme in usposabljanjem uporabnikov.
Dobavni rok: največ 8 tednov od podpisa pogodbe (zaželeno je 4 tedne od podpisa pogodbe).
Plačilni pogoji: 60 dni od izstavitve računa.
Veljavnost ponudbe 3 mesece.

Prodajalec:

Žig in podpis ponudnika:










Obrazec C
Naročnik: CO CIPKeBiP

Center odličnosti za integrirane pristope v kemiji in biologiji proteinov

Jamova cesta 39, 1000 Ljubljana

Tel. 01 477 3857, Fax. 01 477 3984

Številka razpisa: 09-2011
Ponudnik (podjetje): ___________________

Naslov _______________________________

I Z J A V A o izpolnjevanju pogojev

Pod kazensko in materialno odgovornostjo izjavljamo, da izpolnjujemo pogoje za sodelovanje:
	Zap.št.
	Pogoji
	Izpolnjujemo (Da oz. Ne)

	1
	Izjavljamo, da imamo veljavno registracijo za opravljanje dejavnosti.
	

	2
	Izjavljamo, da imamo veljavno dovoljenje pristojnega organa za opravljanje dejavnosti, ki je predmet javnega naročila, če je za opravljanje take dejavnosti na podlagi posebnega zakona dovoljenje potrebno.
	

	3
	Izjavljamo, da nismo mi in ne naši zakoniti zastopniki, v kolikor gre za pravno osebo, bili pravnomočno obsojeni zaradi kaznivih dejanj določenih v 1. in 2. odstavku 42. člena ZJN-2.
	

	4
	Izjavljamo, da nismo uvrščeni na seznam poslovnih subjektov, s katerimi, na podlagi Zakona o preprečevanju korupcije, ne smejo poslovati naročniki iz 1., 2. in 3. odstavka 28. člena Zakona o preprečevanju korupcije – ZPKor (Uradni list RS, št. 8/04).
	

	5
	Izjavljamo, da nismo v postopku prisilne poravnave, stečaja ali likvidacije in zoper nas ni bil uveden postopek prisilne poravnave, stečaja ali likvidacije.
	

	6
	Izjavljamo, da imamo plačane vse zapadle obveznosti do podizvajalcev v predhodnih postopkih javnega naročanja (44. člen ZJN-2).
	

	7
	Izjavljamo, da smo skladno z zahtevami naročnika tehnično, kadrovsko, terminsko in finančno sposobni izvesti predmetno naročilo.
	

	8
	Izjavljamo, da nismo uvrščeni na seznam ponudnikov z negativnimi referencami, ki ga vodi Ministrstvo za finance.
	

	9
	Izjavljamo, da nam ni bila izrečena stranska kazen prepovedi udeležbe na razpisih na področju javnega naročanja na podlagi 15.a člena Zakona o odgovornosti pravnih oseb za kazniva dejanja (Uradni list RS, št. 98/04 – ZOPOKD – UPB1 in 65/08).
	


Izjavljamo, da so vsi podatki, predloženi v tej ponudbi resnični, da predložena dokazila niso zavajajoča in da fotokopije priloženih listin ustrezajo originalom. Soglašamo, da naročnik vse podatke in dokazila preveri iz uradnih evidenc. Izjavljamo, da bomo na naročnikovo zahtevo za podatke, o katerih se ne vodi uradna evidenca, predložili ustrezne originalne dokaze.
S podpisom tudi izjavljamo, da smo seznanjeni s celotno razpisno dokumentacijo in da sprejemamo vse pogoje predmetnega javnega naročila.
Izjavljamo tudi, da do naročnika ne bomo imeli nobenega odškodninskega zahtevka, če ne bomo izbrani kot najugodnejši ponudnik.

V ___________________, dne _____________________

Žig in podpis ponudnika:
Obrazec D

Naročnik: CO CIPKeBiP

Center odličnosti za integrirane 

pristope v kemiji in biologiji proteinov

Jamova cesta 39, 1000 Ljubljana

Tel. 01 477 3857, Fax. 01 477 3984

Številka razpisa: 09-2011
Ponudnik (podjetje): ___________________

Naslov:  ______________________________

I Z J A V A o izpolnjevanju tehničnih zahtev

Tehnične zahteve za nakup komponent za manipulacijo fluorescenčnega signala
	No.
	
	
	
	
	
	Vrednost podatka, navedba predpisa, opis oz. obrazlo-žitev zahteve
	V katerem priloženem dokumentu in na katerem mestu je informacija
	Opomba

	I.
	II.
	
	
	
	
	III.
	IV.
	V.

	
	Tehnična zahteva
	Podskupina
	Opis
	Komentar

Primer distributerja oziroma proizvajalca

izdelka skupaj s specifikacijo reference oziroma kataloške številke
	Količina
	
	
	

	1
	Data Acquisition and Signal Output
	Nidaq-Karte
	NI PCI- 6259, 16 bit, 1 MS/s (Multichannel), 1,25 MS/s (1-channel), 32 analog inputs
	National Instruments, 779072-01
	3
	
	
	

	2
	Data Acquisition and Signal Output
	Connector Box
	SCB68 Shielded connector box
	National Instruments, 776844-01
	6
	
	
	

	3
	Data Acquisition and Signal Output
	Cable
	SHC68-68-EPM Cable (2m)
	National Instruments, 192061-02
	6
	
	
	

	4
	Software
	LabView
	LabVIEW Full Development System, Windows, Include 1 Year SSP
	National Instruments, 776670-35
	1
	
	
	

	5
	IR Filter (SC)
	Mirror mount
	Suprema Mirror Mount, 1.0 in.
	Newport, M-SS100-F2KN
	61
	
	
	

	6
	IR Filter (SC)
	Mirror mount
	Pedestal Post, 25.4 mm Height, 25.4 mm Diameter, M4 Thread
	Newport, M-PS-1
	51
	
	
	

	7
	IR Filter (SC)
	Mirror mount
	Clamping Fork, 1.0 in. (25.4 mm) Diameter Post
	Newport, PS-F
	49
	
	
	

	8
	Excitation splitting and combining
	Dichroic mirror mount
	Pedestal Post, 12.7 mm Height, 25.4 mm Diameter, M4 Thread
	Newport, M-PS-0.5
	8
	
	
	

	9
	Fiber Delay
	Coupler holder
	Suprema Clear Edge Mirror Mount, 1.0 in.
	Newport, M-SN100-F2KN
	6
	
	
	

	10
	Fiber Delay
	Height adapter (3.2mm)
	Spacer, 0.125-in. thk, 1-in. Dia., 8-32(M4) CLR
	Newport, PS-0.125
	6
	
	
	

	11
	Fiber Delay
	Height adapter (1.6mm)
	Spacer, 0.063-in. thk, 1-in. Dia., 8-32(M4) CLR
	Newport, PS-0.063
	6
	
	
	

	12
	STED / Exc Combination
	Mount
	Cube Beamsplitter Holder, 1 inch, For U100A Mount
	Newport, UPA-CH1
	1
	
	
	

	13
	Alignment Scanner
	Height adapter (0-->7.3 mm)
	Spacer, 0.250-in. thk, 1-in. Dia., 8-32(M4) CLR
	Newport, PS-0.25
	4
	
	
	

	14
	Alignment Scanner
	Height adapter (0-->7.3 mm)
	Spacer, 0.031-in. thk, 1-in. Dia., 8-32(M4) CLR
	Newport, PS-0.031
	4
	
	
	

	15
	Polarization Circularizer
	Mount
	Platform Rotation Stage, 40mm , Metric
	Newport, M-RS40
	1
	
	
	

	16
	Polarization Circularizer
	Mount
	Adapter Plate, 25 x 25 mm to 40 x 40 mm Stage
	Newport, M-B-1.25
	1
	
	
	

	17
	Polarization Circularizer
	Mount
	Slotted Base Plate, 25 or 40mm to 65mm
	Newport, M-B-2B
	1
	
	
	

	18
	Optical Plate
	Optical Table
	 Metric, M6 Holes
	Newport, M-ST-UT2-410-18
	4
	
	
	

	19
	Optical Plate
	Isolators (Set of 4) (to be used with M-ST-UT2-410-18)
	Height 19.5 inch
	Newport, I-2000-419,5
	4
	
	
	

	20
	Optical Plate
	IQ damper upgrade kit (to be used with M-ST-UT2-410-18)
	
	Newport, IQ-200-UG-18
	2
	
	
	

	21
	Optomechanics
	Pedestal Post
	1 in. (25.4 mm) 45° Mirror Holder
	Newport, UPA-45D1
	5
	
	
	

	22
	Excitation splitting and combining
	Dichroic mirror mount
	Classic Center Mirror Mount, 2.0 in. Diameter, 3 Knob Adjustment
	Newport/New Focus, 9855
	6
	
	
	

	23
	Tools
	Spectrometer
	USB4000, Grating #3, DET4-350-1000, Slit 25, L4 including SpectraSuite Software
	Ocean Optics, USB-4000 user defined (refer to quote #80790-1)
	1
	
	
	

	24
	Tools
	Spectrometer
	Fiber
	Ocean Optics, QP400-2-VIS-BX
	1
	
	
	

	25
	Telescope
	Lens Mount
	OH 40-D25-FGS-XY,  XY adjusting mounting plates for ø 25 mm
	Owis, 14.202.0025
	9
	
	
	

	26
	AOTF
	AOTF
	Akustooptischer Multiline-Modulator
	Pegasus Optik / AA Opto, AA.AOTF.nC-VIS-TN
	1
	
	
	

	27
	AOTF
	AOTF
	Controller (to be used with AA.AOTF.nC-VIS-TN)
	Pegasus Optik / AA Opto, AA.MDS.8C-B
	1
	
	
	

	28
	PMT Detection group
	PMT
	MD 963 CPM DC-Module, analog (with power supply)
	Perkin Elmer/Excelitas, 95361019
	2
	
	
	

	29
	APD detection group
	APD
	Si APD Single Photon Counting Module (with power supply)
	Perkin Elmer/Excelitas Can., SPCM-AQRH-13-FC
	4
	
	
	

	30
	Tools
	DPSS laser module  

593 nm
	593.5 nm, typ. 1..2 mW, size 15 x 90 mm, 3 VDC, <500 mA (with power supply)
	Roithner Laser Technik, RLY-01
	1
	
	
	

	31
	Tools
	Laser diode module 

650nm (both)
	650 nm, 5 mW, focusable, glass lens, 4-6V, 13 x 52 mm (with power supply)
	Roithner Laser Technik, LDM650/5LT
	1
	
	
	

	32
	Tools
	Laser diode module 

635 nm
	635 nm, 5 mW, focusable, glass lens, 4-6V, 13 x 52 mm (with power supply)
	Roithner Laser Technik, LDM635/5LT
	1
	
	
	

	33
	Tools
	Laser diode module 

670 nm
	670 nm, typ. 2 mW, focusable, 8 x 27.5 mm, 3 VDC (with power supply)
	Roithner Laser Technik, RLDC670-2.2-3
	1
	
	
	

	34
	Vortex
	Vortex Phase Plate
	Vortex Charge 1
	RPC Photonics, VPP-1
	2
	
	
	

	35
	Fiber Delay
	Fiber Collimator Exc
	collimator, monochromat f=8mm, AR 390-670, FC-PC
	Schäfter + Kirchhoff, 60FC-0-M8-33
	3
	
	
	

	36
	Fiber Delay
	Adapter: 12mm to 25 mm
	Adapter for fiber collimators 12mm --> 25 mm
	Schäfter + Kirchhoff, 12C-AM25
	7
	
	
	

	37
	Fiber Delay
	Fiber (5m) STED
	Single Mode, Pol maintain., FC-APC, 5m, Cable Reel P7-12, for 700-750 nm (!)
	Schäfter + Kirchhoff, PMC-780-5.1-NA012-3-APC-500-P (refer to quotation # 702760)
	1
	
	
	

	38
	Fiber Delay
	Fiber Colimator STED
	collimator, monochromat, f=8mm, AR 630-980 nm, FC-APC
	Schäfter + Kirchhoff, 60FC-4-M8-10
	3
	
	
	

	39
	Fiber Delay
	Tools
	wrench
	Schäfter + Kirchhoff, 60EX-4
	1
	
	
	

	40
	Fiber Delay
	Tools
	screw driver
	Schäfter + Kirchhoff, 9D-12
	1
	
	
	

	41
	STED/Exc incoupler
	STED Fiber (3m)
	Single Mode, Pol maintain., FC-APC, 3m, Cable Reel P7-12, for 700-750 nm (!)
	Schäfter + Kirchhoff, PMC-780-5.1-NA012-3-APC-300-P (refer to quotation # 702760)
	1
	
	
	

	42
	STED/Exc incoupler
	Exc Fiber (3m)
	Single Mode, Pol maintain., FC-PC, 3m, Cable Reel P6-32, for 560-650 nm (!)
	Schäfter + Kirchhoff, PMC-630-4,6-NA011-3-0PC-300-P (refer to quotation # 702760)
	1
	
	
	

	43
	STED outcoupler 
	Collimator
	collimator, f=20, AR 630-980, FC-APC
	Schäfter + Kirchhoff, 60FC-4-M20-10
	1
	
	
	

	44
	Exc outcoupler
	Collimator
	Precision FC-PC adapter with Tilt alignment
	Schäfter + Kirchhoff, 25AM-0-FC
	1
	
	
	

	45
	Widefield detection
	CCD-camera
	Ascent A285 with C mount adapter
	Scientific Instr. / Apogee, 
	1
	
	
	

	46
	Detection filter
	Notch Filter - STED
	720 nm blocking edge BrightLine multiphoton short-pass emission filter
	Semrock, FF01-720/SP-25
	1
	
	
	

	47
	Vortex
	Mount
	Low Profile Aluminium Translation Stages, Ø50 mm clear aperture
	Standa, 7T167-25
	4
	
	
	

	48
	Vortex
	Mount
	Angle Bracket 
	Standa, 2AB167-25
	2
	
	
	

	49
	Widefield detection group
	CCD-camera C-Mount
	Microscopy USB camera, C-Mount, 5MP, CMOS chip
	Tecmon/ Tucsen, 1.3MP TCA-1.31
	1
	
	
	

	50
	Tools
	Oscilloscope
	Digital Store oscilloscope, 200 MHz, 2GS/s, 2-CH
	Tektronix, TDS2022C
	1
	
	
	

	51
	Support Laser Unit
	Optical Breadboard
	UltraLight Series I Breadboard - 900 mm x 900 mm x 25 mm
	Thorlabs, PBG51512
	1
	
	
	

	52
	Support Microscope Unit
	Optical Breadboard
	UltraLight Series I Breadboard - 1200 mm x 900 mm x 25 mm
	Thorlabs, PBG51513
	1
	
	
	

	53
	IR Filter (SC)
	Mirror mount
	Optical Post, M4 Stud, M6 Tapped, Ø12.7 mm x 20 mm
	Thorlabs, TR20/M
	7
	
	
	

	54
	IR Filter (SC)
	Mirror mount
	Ø12.7 mm x 30 mm Stainless Steel Optical Post, M4 Stud, M6 Tapped
	Thorlabs, TR30/M
	7
	
	
	

	55
	IR Filter (SC)
	Mirror mount
	Ø12.7 mm x 40 mm Stainless Steel Optical Post, M4 Stud, M6 Tapped
	Thorlabs, TR40/M
	7
	
	
	

	56
	IR Filter (SC)
	Mirror mount
	Ø12.7 mm x 50 mm Stainless Steel Optical Post, M4 Stud, M6 Tapped
	Thorlabs, TR50/M
	7
	
	
	

	57
	IR Filter (SC)
	Mirror mount
	Universal Post Holder, L = 25.4
	Thorlabs, UPH1/M
	7
	
	
	

	58
	IR Filter (SC)
	Mirror mount
	Universal Post Holder, Spring-Loaded Locking Thumbscrew, L = 50.8 mm
	Thorlabs, UPH2/M
	7
	
	
	

	59
	IR Filter (SC)
	Beam Stop
	Beam Trap, pulsed version
	Thorlabs, BT510/M
	1
	
	
	

	60
	Laser power control
	Shutter mount
	Ø1" Pedestal Pillar Post
	Thorlabs, RS3P/M
	4
	
	
	

	61
	Laser power control
	Shutter mount
	Post clamp 1" with M6 mounting ports
	Thorlabs, RM1B/M
	4
	
	
	

	62
	Laser power control
	Shutter mount
	Small Clamping Fork
	Thorlabs, CF125
	21
	
	
	

	63
	Laser power control
	Attenuation via Pol
	Precision Cage Rotation Mount with Micrometer Drive
	Thorlabs, CRM1P/M
	5
	
	
	

	64
	Fiber Delay
	Fiber (5m) Exc
	Patch Cable, FC/UPC, 488 nm, PM, Panda Style, 5m, 460 - 630 nm
	Thorlabs, P1-488PM-FC-5
	1
	
	
	

	65
	STED outcoupler 
	Centering
	SM1 Threaded 30 mm Cage Plate, 0.35" Thick, Metric
	Thorlabs, CP02/M
	3
	
	
	

	66
	STED outcoupler 
	Centering
	Ring-Activated SM1 Iris Diaphragm
	Thorlabs, SM1D12D
	7
	
	
	

	67
	STED / Exc Combination
	Polarizing BS
	620-1000 nm Polarizing Beamsplitter Cube, 20 mm
	Thorlabs, PBS202
	1
	
	
	

	68
	STED / Exc Combination
	Mount
	High Precision Rotation Mount, Metric
	Thorlabs, PR01/M
	1
	
	
	

	69
	STED / Exc Combination
	Mount
	Adapter Plate for PR01/M, Metric
	Thorlabs, PR01A/M
	2
	
	
	

	70
	Pellicle Beamsplitter
	Pellicle
	45:55 1" pellicle beam splitter coated for 400-700nm
	Thorlabs, BP145B1
	2
	
	
	

	71
	Pellicle Beamsplitter
	Mount
	Kinematic 1" pellicle mount
	Thorlabs, KM100BP
	2
	
	
	

	72
	Pellicle Beamsplitter
	Mount
	Bottom Plate Only of the KB25/M magnetic base plate
	Thorlabs, KBB25/M
	2
	
	
	

	73
	Pellicle Beamsplitter
	Mount
	M4 Threaded Kinematic Top Plate for magnetic base plate
	Thorlabs, KBT25T/M
	2
	
	
	

	74
	APD detection group
	Multimode Fiber
	1 Meter Graded Index 62.5 µm Multimode Patch Cable: FC/PC, NA 0.227
	Thorlabs, M31L01
	3
	
	
	

	75
	APD detection group
	Fc Adapter
	Fc adapter plate
	Thorlabs, SM1FC
	4
	
	
	

	76
	APD detection group
	Fc Adapter Holder
	SM1-Threaded 30 mm Cage Plate, 0.5" Thick, Metric
	Thorlabs, CP02T/M
	11
	
	
	

	77
	APD detection group
	Lens Holder
	SM1 Zoom Housing for Ø1" Optics, Non-Rotating, 4 mm Travel 
	Thorlabs, SM1ZM
	2
	
	
	

	78
	APD detection group
	Lens Holder
	XY Translator with Micrometer Drives, Metric 
	Thorlabs, ST1XY-S/M
	2
	
	
	

	79
	APD detection group
	Lens Tubes
	Threaded lens tube 3''
	Thorlabs, SM1L30
	2
	
	
	

	80
	APD detection group
	Lens Tubes
	Threaded lens tube 1''
	Thorlabs, SM1L10
	4
	
	
	

	81
	APD detection group
	Lens Tubes
	Threaded lens tube 0.5''
	Thorlabs, SM1L05
	2
	
	
	

	82
	APD detection group
	Mount
	Cage assembly Rod 3''
	Thorlabs, ER3
	12
	
	
	

	83
	APD detection group
	Mount
	Cage assembly Rod 6''
	Thorlabs, ER6
	4
	
	
	

	84
	Detection filter
	Mount Interference filter
	Cage assembly rod 2''
	Thorlabs, ER2
	8
	
	
	

	85
	Detection filter
	Mount Interference filter
	Cage assembly rod 1''
	Thorlabs, ER1
	4
	
	
	

	86
	Detection filter
	Mount notch filter
	Cage Assembly Rod, 1.5" Long, Ø6 mm, Qty. 1
	Thorlabs, ER1.5
	6
	
	
	

	87
	PMT Detection group
	PMT Mount
	Base plate ,  12.5mm thick
	Thorlabs, BA2S6/M
	1
	
	
	

	88
	PMT Detection group
	PMT Mount
	Base plate spacer, 4 mm thick
	Thorlabs, Ba2S4/M
	1
	
	
	

	89
	PMT Detection group
	ND Filter
	AR coated ND filter, mounted
	Thorlabs, NE20A-A
	1
	
	
	

	90
	PMT Detection group
	ND Filter
	AR coated ND filter, mounted
	Thorlabs, NE10A-A
	1
	
	
	

	91
	PMT Detection group
	Mount
	Cage assembly rod 2"
	Thorlabs, ER2
	10
	
	
	

	92
	Widefield detection group
	Adapter
	Adapter with External C-Mount Threads and Internal SM1 Threads
	Thorlabs, SM1A9
	1
	
	
	

	93
	Widefield detection group
	Lens Tube coupler
	SM1 Coupler, External Threads, 0.5" Long
	Thorlabs, SM1T2
	7
	
	
	

	94
	Widefield detection group
	xy- translator
	XY Translator with 100 TPI Drives, Metric 
	Thorlabs, ST1XY-A/M
	1
	
	
	

	95
	Widefield detection group
	Mount
	Cage assembly rod 3"
	Thorlabs, ER3
	2
	
	
	

	96
	Tools
	fiber coupling of cw laser diodes
	Aluminum Breadboard, 300 mm x 300 mm x 12.7 mm, M6 Threade
	Thorlabs, MB3030/M
	1
	
	
	

	97
	Tools
	fiber coupling of cw laser diodes
	3 Meter Graded Index 62.5 µm Multimode Patch Cable: FC/PC
	Thorlabs, M31L03
	1
	
	
	

	98
	Tools
	fiber coupling of cw laser diodes
	5 Meter Graded Index 62.5 µm Multimode Patch Cable: FC/PC
	Thorlabs, M31L05
	1
	
	
	

	99
	Tools
	Motorized Polarization tool
	High-Speed Si Detector, 200-1100 nm
	Thorlabs, DET10A/M
	3
	
	
	

	100
	Tools
	Motorized Polarization tool
	Power supply 12VDC for rotation mount
	Thorlabs, PMPS12
	2
	
	
	

	101*
	*Breadbord with base
	Optical Breadboard
	1500 x 1250 x 110mm

'PerformancePlus Series'

M6/25mm
	Thorlabs, PBI52524
	1
	
	
	

	102*
	*Breadbord with base
	Isolation Frame
	Active Self Leveling


	Thorlabs, PFA51504
	1
	
	
	

	103*
	*Breadbord with base
	AIR

COMPRESSOR
	220/

240

V50hz

EU
	Thorlabs, PTA511EC
	1
	
	
	

	104
	Tools
	Motorized Polarization tool
	Threaded lens tube 2"
	Thorlabs, SM1L20
	4
	
	
	

	105
	Tools
	Motorized Polarization tool
	AR coated ND filter, mounted
	Thorlabs, NE20A-B
	2
	
	
	

	106
	Tools
	Double pinhole
	Slottet lens tube 3"
	Thorlabs, SM1L30C
	2
	
	
	

	107
	Tools
	Double pinhole
	Extension tube 210mm
	Thorlabs, SM1E34-200
	2
	
	
	

	108
	Tools
	Double pinhole
	Threaded kinematic mount
	Thorlabs, KC1-T
	2
	
	
	

	109
	Tools
	Double pinhole
	APC Fiber Collimator, f=15mm, 600-1500nm
	Thorlabs, F260APC-B
	2
	
	
	

	110
	Tools
	Double pinhole
	PC Fiber Collimator, f=15mm, 600-1500nm
	Thorlabs, F260FC-B
	2
	
	
	

	111
	Tools
	shear plate
	Shearing Interf., 1-3 mm Beam Dia.Shear Plate
	Thorlabs, SI035P
	1
	
	
	

	112
	Tools
	shear plate
	Shear Plate, 2.5-5 mm Beam Diameter
	Thorlabs, SI050P
	1
	
	
	

	113
	Tools
	shear plate
	Shear Plate, 5-10 mm Beam Diameter
	Thorlabs, SI100P
	1
	
	
	

	114
	Tools
	Alignment disk
	Frosted glass alignment disk, 1 inch, Mounted
	Thorlabs, DG10-1500-H1-MD
	2
	
	
	

	115
	Polarization Optics
	Retarders
	Mounted Achromatic Half-Wave Plate, 690 - 1200 nm
	Thorlabs, AHWP05M-980
	1
	
	
	

	116
	Polarization Optics
	Retarders
	Mounted Achromatic Quarter-Wave Plate, 690 - 1200 nm
	Thorlabs, AQWP05M-980
	1
	
	
	

	117
	Polarization Optics
	Retarders
	Mounted Achromatic Quarter-Wave Plate, 400 - 800 nm
	Thorlabs, AQWP05M-600
	1
	
	
	

	118
	Polarization Optics
	Retarders
	Mounted Achromatic Half-Wave Plate, 400 - 800 nm
	Thorlabs, AHWP05M-600
	1
	
	
	

	119
	Optomechanics
	Pedestal Post
	Ø25 mm Pedestal Pillar Post, M4 Taps, 38 mm Long, Metric
	Thorlabs, RS1.5P4M
	10
	
	
	

	120
	Scanner
	Yanus IV Scanner
	Yanus IV Digital Scan Head
	Till Photonics, 0000-585-20015
	1
	
	
	

	121
	Scanner
	Scanning Power Unit
	Scanning Power Unit with DSC
	Till Photonics, 0000-585-20002
	1
	
	
	

	122
	Scanner
	Scanning Control Unit
	Scanning Control Unit, 2 axes
	Till Photonics, 0000-585-20017
	1
	
	
	

	123
	Tools
	Power Meter
	Laser power meter, LabMax-TO 
	Coherent, 1104619
	1
	
	
	

	124
	Tools
	Power Meter
	Sensor - VIS, LM-2 VIS 
	Coherent, 1098298
	1
	
	
	

	125
	Tools
	Power Meter
	1000:1 Attenuator
	Coherent, 1098318
	1
	
	
	

	126
	Tools
	Power Meter
	FC Fiber Optic Connector- part1
	Coherent, 1057923
	1
	
	
	

	127
	Tools
	Power Meter
	FC Fiber Optic Connector- part2
	Coherent, 1057921
	1
	
	
	

	128
	Laser
	Laser 375 nm
	SYS: Cube 375-16 CIRCULAR: 375nm: 16 mW
	Coherent, 1112774
	1
	
	
	

	129
	Software
	Imspector
	Imspector Image Acquisition & Analysis Software
	Max Planck-Innovation, 
	1
	
	
	

	130


	Computer
	
	Computer (Dual Core, >= 3GHz, >=4GB RAM, Gigabit Ethernet)  with 3 PCI-Slots, Screen, Mouse Keyboard, Windows 7 (or XP)
	
	1
	
	
	


Vsa oprema od zap. št. 1 do zap. št. 101 ter od zap. št. 104 do zap.št. 130 mora biti dostavljena in funkcionalno postavljena na naslovu Laser-Laboratorium Göttingen e.V. (LLG), Hans-Adolf-Krebs-Weg 1, 37077 Göttingen, Nemčija.
Oprema v skladu z zahtevami iz navedenega popisa, ji je označena z zvezdico * pod zaporednimi številkami 101, 102 in 103, mora biti dostavljena na naslov LN-MCP, Zaloška 4, Ljubljana, Slovenija.
Navodila za izpolnjevanje tabele:
Pod zaporedne številke od I. do III. se navede naziv, model/tip in proizvajalca ponujenega proizvoda.

V koloni III. je potrebno za vsako točko oziroma zahtevo vpisati dejanski podatek oziroma navesti zahtevane predpise, standarde ipd. ali kratko obrazložiti posamezno zahtevo. Pri zahtevah, ki se dajo izraziti številčno je potrebno vpisati vrednost s številko, enoto, količino in ipd. Pri drugih podatkih pa je treba natančno opisati zahtevano lastnost ali vpisati »DA«, če je zahteva izpolnjena. V primeru, da ponudnik vpiše »NE«, pomeni, da ne izpolnjuje naročnikove zahteve.

V koloni IV je potrebno natančno navesti vrsto dokazila in kje v priloženi dokumentaciji (npr. v tehnični knjižici, v prilogi, poglavju, stran priložene dokumentacije) so podatki iz kolone III zabeleženi. Zaradi lažjega pregleda jih je potrebno tudi vidno označiti (podčrtati, obkrožiti, markirati pid).
V koloni V lahko ponudnik vnese dodatne opombe/podatke v zvezi z zahtevanimi podatki v kolonah III in IV.

V ___________________, dne _____________________

Žig in podpis ponudnika:











Obrazec E

Naročnik: CO CIPKeBiP

Center odličnosti za integrirane 

pristope v kemiji in biologiji proteinov

Jamova cesta 39, 1000 Ljubljana

Tel. 01 477 3857, Fax. 01 477 3984

Številka razpisa: 09-2011
Ponudnik (podjetje): ___________________

Naslov _______________________________

IZJAVA O ODZIVNEM ČASU ZA SERVIS

Izjavljamo, da zagotavljamo odzivni čas za servis največ 5 delovnih dni po prejemu poziva naročnika.

Ta izjava je sestavni del prijave dobavitelja na javni razpis za nakup komponent za manipulacijo fluorescenčnega signala št. 09-2011. 
V ___________________, dne _____________________

Žig in podpis ponudnika:

Priloga št. 1
Naročnik: CO CIPKeBiP

Center odličnosti za integrirane 

pristope v kemiji in biologiji proteinov

Jamova cesta 39, 1000 Ljubljana

Tel. 01 477 3857, Fax. 01 477 3984

Številka razpisa: 09-2011
Ponudnik (podjetje): ___________________

Naslov: _______________________________

Sodelovanje ponudnika v zadnjih petih letih pri različnih naročnikih
Seznam najmanj treh sodelovanj ponudnika v zadnjih petih letih pri različnih naročnikih.
	Zap.št.
	Referenčna stranka
	Oprema
	Čas realizacije

	
	
	
	

	
	
	
	

	
	
	
	


V ___________________, dne _____________________

Žig in podpis ponudnika:

Priloga št. 2
VZOREC POGODBE
Številka razpisa: 09-2011
Center odličnosti za integrirane pristope v kemiji in biologiji proteinov, Jamova cesta 39, 1000 Ljubljana, ki ga zastopa direktorica dr. Livija Tušar, davčna številka: SI90147502, kot kupec

in

__________________________________________, ki ga zastopa _______________________ _______________________, kot prodajalec

se dogovorita in skleneta naslednjo

KUPOPRODAJNO POGODBO
št.__________

1. člen

Pogodbeni stranki ugotavljata, da

a. je kupec na podlagi 25. člena ZJN-2 izvedel odprti postopek oddaje naročila za nakup komponent za manipulacijo fluorescenčnega signala (v nadaljevanju besedila: predmet pogodbe),

b. je bil prodajalec izbran kot najugodnejši ponudnik za dobavo predmeta pogodbe,

c. Operacijo, program razvoja centra odličnosti, z naslovom Center odličnosti za integrirane pristope v kemiji in biologiji proteinov (št. Operacije OP13.1.1.2.02.0005), delno financira Evropska unija, in sicer iz sklada za regionalni razvoj. Operacija se izvaja v okviru Operativnega programa krepitve regionalnih razvojnih potencialov za obdobje 2007-2013, razvojne prioritete: Konkurenčnost podjetij in raziskovalna odličnost; prednostne usmeritve: Izboljšanje konkurenčnih sposobnosti podjetij in raziskovalna odličnost. Operacijo delno financira Evropska unija, in sicer iz Evropskega sklada za regionalni razvoj, v višini 85%. Slovenski delež sofinanciranja je v višini 15%.

2. člen

Prodajalec proda, kupec pa dobavi in montira predmet pogodbe po predračunu št. _______ z dne ___________.

Prodajalec se zavezuje, da je predmet pogodbe v skladu s tehničnimi z zahtevami naročnika, opredeljenimi v Povabilu k oddaji ponudbe, številka razpisa 09-2011, z dne 11.3.2011 in jo je prodajalec potrdil v izjavi o izpolnjevanju tehničnih zahtev, ki je sestavni del ponudbene dokumentacije.
3. člen

Pogodbeni stranki se dogovorita, da znaša pogodbena cena za predmet pogodbe __________________________________EUR z DDV in brez DDV ________________________ EUR. Tako dogovorjena pogodbena cena je dokončna in vključuje nabavno ceno, davek na dodano vrednost in druge morebitne stroške, ki bodo nastali do prevzema predmeta pogodbe s strani kupca. Prodajalec se obvezuje, da bo organiziral brezplačni lastni prevoz in funkcionalno postavitev. 
Prodajalec se obvezuje, da bo opremo, ki je predmet pogodbe, dostavil na naslov Laser-Laboratorium Göttingen e.V. (LLG), Hans-Adolf-Krebs-Weg 1, 37077 Göttingen, Nemčija, razen opreme, ki je označena z zvezdico (zaporedne številke 101, 102 in 103), ki jo prodajalec dostavi na naslov LN-MCP, Zaloška 4, Ljubljana.
4. člen

Za blago, ki je predmet te pogodbe, je rok dobave _____ dni od dneva podpisa pogodbe.
Kupec se obvezuje podpisati primopredajni zapisnik po ugotovitvi, da je funkcionalna postavitev pravilno dobavljene opreme brezhibno opravljena ter da je prodajalec kupcu izročil garancijske liste. 

5. člen

Ob prevzemu predmeta pogodbe prodajalec izstavi račun, ki ga kupec poravna najkasneje v 60 dneh.

6. člen

Nevarnost uničenja ali poškodovanja opreme preide s prodajalca na kupca z izročitvijo opreme kupcu.

Prodajalec daje kupcu garancijo za kvaliteto in delovanje opreme najmanj v enakem obsegu kot jih nudi proizvajalec opreme izvajalcu, to je ……….. let od dneva prevzema opreme.

Prodajalec mora v garancijskem roku zagotavljati dežurno službo, ki zagotavlja odzivni čas servisa v petih delovnih dneh od časa prejema obvestila.

Če oprema ni popravljena v navedenem roku, mora prodajalec za čas popravila zagotoviti enakovredno nadomestno opremo ali posamezen kos opreme. V tem primeru se garancijski rok podaljša za čas popravila.

Vsi transportni in drugi stroški v zvezi s popravilom v času garancijskega roka bremenijo prodajalca.

7. člen

Pogodbeni stranki se zavezujeta, da bosta storili vse, kar je potrebno za izvršitev pogodbe.

Vsaka pogodbena stranka lahko predlaga spremembe in dopolnitve k tej pogodbi, ki so veljavne le, če so sklenjene v pisni obliki kot aneks k tej pogodbi.

8. člen

Morebitne spore iz te pogodbe, ki jih pogodbeni stranki ne bi mogli rešiti sporazumno, rešuje stvarno pristojno sodišče v Ljubljani.

9. člen

Pogodba je sestavljena v 2 izvodih, od katerih sprejme vsaka od pogodbenih strank po 1 izvod. Pogodba začne veljati, ko jo podpišeta obe stranki.

Datum:







Datum:
Prodajalec:






Kupec:

Center odličnosti za integrirane








pristope v kemiji in biologiji proteinov









Direktorica:

Dr. Livija Tušar
1/25

[image: image1.png][image: image2.jpg]